MEMORANDUM

Date:	October 25, 2016

To:	Portland Design Commission

From:	Jeff Mitchem, Development Review

Re:	EA 16-236940 DA – 1319 NW Johnson St

Design Advice Request Commission Memo – Meeting Date, November 3, 2016

I. 	PROGRAM OVERVIEW

Attached is a drawing set for the Design Advice Request for a proposed 5 over 1 mixed-use market rate apartment building consisting of the following primary program components (quantities approximate):

- site area – 6,000 SF;

- 6-stories;

- 59 market rate apartments;

- 3,476 SF of retail;

- Auto Parking. None neither required nor proposed.

- Bike Parking. Required: 89 long-term, 5 short-term. Proposed: 91 long-term, 5 short-term.

- Loading. Required: 1 Std B. Proposed: 0;

- Residential lobby at west end of NW Johnson St;

- Retail / loading dock oriented to NW 13th Ave;

- Projecting building mass (Non-compliant with Oriel Window Stds) proposed on NW Johnson and NW 13th Ave;

- Material palette – zinc panel, smooth composite metal panel (dark grey, stamped wood grain), fiber cement panel.

The review criteria are the Central City Fundamental and River District Design Guidelines (guideline cheat sheet included in Section IV of this memo).

II. 	DEVELOPMENT TEAM BIO

Architect			Robert Thompson | TVA Architects – Portland, OR

Owner/Developer		Andrew Paul | Paul Properties – Portland, OR

Project Valuation		$4,990,000

III.	DAR TOPICS

Staff advises you consider the following among your discussion items on November 3, 2016:

- Massing, Scale and Design Character

  - The proposed massing arrangement is expressed as a ¼-block cube embellished with projections (occupiable floor area and architectural ribbon elements) over a recessed base. Significant Oriel Window projections encroach into both the NW Johnson St and 13th Ave ROWs  (not compliant with IBC/32/#1 E and F):

A. 	Projection. Allowed – 4’. Proposed – 4’.

B. 	Clearance. Required – 8’ above grade. Proposed – 14’.

C. 	Wall Area. Allowed – 40%. Proposed – approximately 30% (NW Johnson St) and 36% (NW 13th Ave).

D. 	Wall Length. Allowed – 50%. Proposed – approximately 48% (NW Johnson St) and 47% (NW 13th Ave).

E. 	Window Area. Face of projection minimum – 30%. Proposed – approximately 80% on both elevations.  Side of projection – greater than 2’-6” must have windows a minimum of 10% of side walls. Proposed –0% (west end of NW Johnson St), 100% (east end of NW Johnson St) and 0% (both ends of NW 13th Ave).

F. 	Width. Allowed – 12’. Proposed – 50’ (NW Johnson St), 30’ (NW 13th Ave).

G. 	Separation. Allowed – 12’. Proposed – one projection per elevation. N/A

ISSUE: The projections are near the limits allowed by C (wall area) and D (wall length). Projections of this magnitude lack local precedent and are significantly larger than Oriel Window projections previously approved by Design Commission. GUIDELINES: A5 Enhance, Embellish and Identify; C4 Complement Context (refer to Section IV below).

  - The scale and composition of façade elements relative to context is unclear. Contemporarily expressed as a bi-partite glass/metal composition, the building’s base and top share little common material or geometric point of reference and depart significantly from the monolithic masonry (south) and concrete/glass (north and west) context encouraged by guidelines.

ISSUE: As composed, the design expression does not sufficiently reference local context (neither the contemporary nor the traditional). GUIDELINES: A5 Enhance, Embellish and Identify; C4 Complement Context (refer to Section IV below).

  - Over-story planar shifts (projecting masses and fins) appear graphically derived and are not coherently composed in a manner to successfully transition scale from over-story bulk to pedestrian realm. ISSUE: A lighter expression of over-story bulk with fewer projecting architectural elements would lessen looming quality of upper levels. GUIDELINES: C5 Design for Coherency; C10 Integrate Encroachments (refer to Section IV below).

- Ground Floor – Program and Entries

  - The lobby entry is fronted by inactive floor area (trash & recycling)

ISSUE: the entry programming should be further studied to ensure a more distinct and better activated entry sequence. GUIDELINES: A8 Contribute to a Vibrant Streetscape (refer to Section IV below).

  - The lobby entrance and the retail entrance facing NW Johnson St are nearly abutting (separated by 4 short-term bike stalls) and the lobby lacks a pronounced expression in elevation.

ISSUE: The lobby and retail entries should be more distinct and/or more fully expressed in elevation. GUIDELINES: A5 Enhance, Embellish and Identify; C5 Design for Coherency (refer to Section IV below).

- Upper Floors – Balconies and Amenity Space

  - As a fully-resolved residential building, upper-level amenity should be fundamental to the parti. ISSUE: Expand upper level outdoor amenity spaces – terraces at level 6, wider Juliette balconies and rooftop amenity. GUIDELINES: C1 Enhance View Opportunities; C1-1 Increase River View Opportunities (refer to Section IV below).

  - Staff is supportive of the floor-to-ceiling glazing.

ISSUE: Staff advises the Applicant conduct energy calculations early to ensure that glazing is not reduced after Land Use Review.

- Materials

  - The metal stamped wood patterning and fiber cement accents are a significant departure from that of context – both the abutting NW 13th Ave Historic District masonry (south) and the more contemporary concrete/ glass infill (north and west.) Additionally, the Block 136 development under construction across NW 13th Ave from the site will feature a 75’ tall red brick building.

ISSUE: The proposed materials palette should be more responsive to context and be of high quality. GUIDELINES: C4 Complement Context; C2 Promote Quality and Permanence (refer to Section IV below).

  - The DAR Drawing Set does not specify window or storefront system.

ISSUE: Staff reminds the Applicant that the LUR Application should include ample details, manufactures cutsheets, specifications and mock-ups for all proposed materials and skin systems.

- Mechanical

  - Rooftop – rooftop mechanical is not depicted in plan or elevation.

ISSUE: Staff advises the Applicant fully resolve MEP demands and that the LUR Application include drawings indicating that all mechanical is well-screened. GUIDELINES: B2 Protect the Pedestrian (refer to Section IV below).

  - Vents & Louvers – unit air conditioning and venting are not specified in the DAR Drawing Set. ISSUE: Staff reminds the Applicant that the LUR Application should include ample details, manufactures cutsheets, specifications and mock-ups for all proposed venting systems. GUIDELINES: B2 Protect the Pedestrian (refer to Section IV below).

  - Ground Level – transformer, generator, gas meter locations are not specified in the DAR Drawing Set.

ISSUE: Staff advises these elements be located underground and/or away from skin. GUIDELINES: B2 Protect the Pedestrian (refer to Section IV below).

- Other

  - Lighting  – the ground level soffit-hung fixtures appear to be oriented in a manner to potentially bleed light glare off-site, instead of accenting building and ground plane.

ISSUE: Staff advises the Applicant integrate lighting in a manner ensuring that light emission is confined to building and site.  GUIDELINES: C12 Integrate Lighting (refer to Section IV below).

  - Loading Dock Door Swing – the out-swinging door will not be allowed per PBOT.

ISSUE: Staff advises the Applicant recess the door.

III.	DEVELOPMENT STANDARDS

      - Base / Overlay Zone. EX, Central Employment (33.140) and Central City Plan District (33.510) standards of note:

- Non-Conforming Situations – (33.258.070). Because the project value exceeds $155,900, the adjacent parking lot (currently also owned be the applicant) must be brought into compliance with the standards listed in 33.258.070.D.2.b.(1)-(6). The Applicant has indicated that ownership will be separated prior to Land Use Review.

- Max Height – (Map 562-4, 33.510.205). Base zone allowable height is 75’; with allowable bonuses max height is 120’. The project is proposed at 72’ to top-of-parapet.

- Max FAR – (Map 510-2, 33.510.210). Allowable FAR is 4:1; with allowable bonuses (non-discretionary residential) up to 3:1 FAR, for a total of 7:1 FAR maximum would be allowed. As proposed, the project FAR is approximately 6:1 (including the residential housing bonus option)

      - Parking & Loading Standards: (33.266) Minimum parking requirement – 0.

- Loading – The DAR Drawing Set indicates that no on-site loading is provided. As proposed, the project would require one Standard B loading stall: 18’Lx9’Wx10’H.

  - Adjustment – Number of Loading Spaces - An Adjustment will need to be requested to reduce the number of required loading spaces from 1 Std B stall to 0. (33.266.310).

- Bicycle Parking – The Dar Drawing Set indicates ground floor area dedicated to long-term bike storage and a bike lounge. No indication is given as to quantity of proposed spaces however.  As proposed the project’s 59 apartments would demand 89 long-term spaces. The DAR Drawing Set is unclear in depicting how this standard is met.

IV. APPROVAL CRITERIA: Central City Fundamental and River District Design Guidelines

| GUIDELINE | APPROVABLE | MORE INFO | NOT APPROVABLE |
| --- | --- | --- | --- |
| A1. Integrate the River. Orient architectural and landscape elements including, but not limited to, lobbies, entries, balconies, terraces, and outdoor areas to the Willamette River and greenway. Develop accessways for pedestrians that provide connections to the Willamette River and greenway. A1-1. Link the River to the Community. Link the Willamette River to the community reinforcing the river’s significance. |  | Additional upper-level active spaces should be oriented eastward toward River |  |
| A2. Emphasize Portland Themes. When provided, integrate Portland-related themes with the development’s overall design concept. |  | No specific themes identified or specifically incorporated. |  |
| A3. Respect the Portland Block Structures. Maintain and extend the traditional 200-foot block pattern to preserve the Central City’s ratio of open space to built space. Where superblock exist, locate public and/or private rights-of-way in a manner that reflects the 200-foot block pattern, and include landscaping and seating to enhance the pedestrian environment. A3-1. Provide Convenient Pedestrian Linkages. Provide convenient linkages throughout the River District that facilitate movement for pedestrians to and from, and to and from adjacent neighborhoods. | Reinforces through full site buildout. |  |  |
| A4. Use Unifying Elements. Integrate unifying elements and/or develop new features that help unify and connect individual buildings and different areas. | Loading Dock provided in NW 13th Ave ROW. |  |  |
| A5. Enhance, Embellish, and Identify Areas. Enhance an area by reflecting the local character within the right-of-way. Embellish an area by integrating elements in new development that build on the area’s character. Identify an area’s special features or qualities by integrating them into new development. A5-1. Reinforce Special Areas. Enhance the qualities that make each area distinctive within the River District. A5-1-1. Reinforce the Identity of the Pearl District Neighborhood. |  | Contemporary design-forward expression could be better resolved as locally germane. More explicit form/character/material references to either contemporary Pearl Dist or traditional NW 13th Ave Historic Dist context: Contemporary = concrete + glass. Traditional = masonry. | Large quantity of projecting floor area and material palette do not sufficiently reflect local character. Guidelines seek monolithic tri-partite expression. |
| A7. Establish and Maintain a Sense of Urban Enclosure. Define public rights-of-way by creating and maintaining a sense of urban enclosure. |  |  | Perhaps overly so. Projecting mass is just below the threshold for a Major Encroachment. Few precedents within the district. |
| A8. Contribute to a Vibrant Streetscape. Integrate building setbacks with adjacent sidewalks to increase the space for potential public use. Develop visual and physical connections into buildings’ active interior spaces from adjacent sidewalks. Use architectural elements such as atriums, grand entries and large ground-level windows to reveal important interior spaces and activities. A8-1. Design Fences, Walls and Gateway to be Seen Over. Design fences, walls and gateways located between a building and the sidewalk to be seen over to allow for social interaction. | Active frontage at loading dock on NW 13th Ave. | Transformer should be located underground in adjacent ROW. | More active programming at lobby entry. |
| A9. Strengthen Gateways. Develop and/or strengthen gateway locations. A9-1. Provide a Distinct Sense of Entry and Exit. When developing at gateway locations, provide a distinct sense of entry and exit that relates to the special qualities of an area. |  | Not a Gateway location. |  |
| B1. Reinforce and Enhance the Pedestrian System. Maintain a convenient access route for pedestrian travel where a public right-of-way exists or has existed. Develop and define the different zones of a sidewalk: building frontage zone, street furniture zone, movement zone, and the curb. Develop pedestrian access routes to supplement the public right-of-way system through superblocks or other large blocks. B1-1. Provide Human Scale to Buildings Along Walkways. Provide human scale and interest to buildings, along sidewalks and walkways. | All frontages are varied, well-glazed and human-scaled. Loading dock provided. |  |  |
| B2. Protect the Pedestrian. Protect the pedestrian environment from vehicular movement. Develop integrated identification, sign, and sidewalk-oriented night-lighting systems that offer safety, interest, and diversity to the pedestrian. Incorporate building equipment, mechanical exhaust routing systems, and/or service areas in a manner that does not detract from the pedestrian environment. | No on-site auto parking provided. | Ground level soffit-hung lighting fixtures could generate off-site glare. Mechanical equipment not fully resolved/expressed. |  |
| B3. Bridge Pedestrian Obstacles. Bridge across barriers and obstacles to pedestrian movement by connecting the pedestrian system with innovative, well-marked crossings and consistent sidewalk designs. | Loading dock provided. |  |  |
| B4. Provide Stopping and Viewing Places. Provide safe, comfortable places where people can stop, view, socialize and rest. Ensure that these places do not conflict with other sidewalk uses. | Loading dock provided. |  |  |
| B5. Make Plazas, Parks and Open Space Successful. Orient building elements such as main entries, lobbies, windows, and balconies to face public parks, plazas, and open spaces. Where provided, integrate water features and/or public art to enhance the public open space. Develop locally oriented pocket parks that incorporate amenities for nearby patrons. B5-1. Recognize the Roles of the Tanner Creek Parks. Strengthen and enhance the Tanner Creek Parks as both as neighborhood park system and an extension of the North Park Blocks. |  | No provisions or references. |  |
| B6. Develop Weather Protection. Develop integrated weather protection systems at the sidewalk-level of buildings to mitigate the effects of rain, wind, glare, shadow, reflection, and sunlight on the pedestrian environment. | Continuous canopies proposed. |  |  |
| B7. Integrate Barrier-Free Design. Integrate access systems for all people with the building’s overall design concept. | Accessibility measures indicated. |  |  |
| C1. Enhance View Opportunities. Orient windows, entrances, balconies and other building elements to surrounding points of interest and activity. Size and place new buildings to protect existing views and view corridors. Develop building façades that create visual connections to adjacent public spaces. C1-1. Increase River View Opportunities. Increase river view opportunities to emphasize the River District ambiance. |  | More upper level terraces and larger juliettes. | No rooftop amenity facing either River or Mts |
| C2. Promote Quality and Permanence in Development. Use design principles and building materials that promote quality and permanence. | Composite metal panel is generally viewed as a quality material of permanence. |  | Fiber cement panel and stamped wood grain metal as accents not locally relevant materials. |
| C4. Complement the Context of Existing Buildings. Complement the context of existing buildings by using and adding to the local design vocabulary. |  |  | Material palette too great a departure from context to be considered complementary. |
| C5. Design for Coherency. Integrate the different building and design elements including, but not limited to, construction materials, roofs, entrances, as well as window, door, sign, and lighting systems, to achieve a coherent composition. |  |  | Massing arrangement lacks clarity and hierarchy. Architectural elements lack programmatic justification – simplify form expression. Overly complicated material composition – conjectural color, patterning and fastening (face-fixed fiber cement panel.) |
| C6. Develop Transitions between Buildings and Public Spaces. Develop transitions between private development and public open space. Use site design features such as movement zones, landscape element, gathering places, and seating opportunities to develop transition areas where private development directly abuts a dedicated public open space. | Loading dock provided. |  |  |
| C7. Design Corners that Build Active Intersections. Use design elements including, but not limited to, varying building heights, changes in façade plane, large windows, awnings, canopies, marquees, signs and pedestrian entrances to highlight building corners. Locate flexible sidewalk-level retail opportunities at building corners. Locate stairs, elevators, and other upper floor building access points toward the middle of the block. | NW Johnson and 13th Ave corner well activated with retail. |  |  |
| C8. Differentiate the Sidewalk-Level of Buildings. Differentiate the sidewalk-level of the building from the middle and top by using elements including, but not limited to, different exterior materials, awnings, signs, and large windows. | 13’ ground floor with large wood-storefront glazing, board-form concrete and continuous canopies. |  |  |
| C9. Develop Flexible Sidewalk-Level Spaces. Develop flexible spaces at the sidewalk-level of buildings to accommodate a variety of active uses. C9-1. Reduce the Impact of Residential Unit Garages on Pedestrians. Reduce the impact on pedestrians from cars entering and exiting residential unit garages by locating garage access on alleys, and active spaces on ground floors that abut streets. | Large ground level retail space with spill-out potential to loading dock. |  |  |
| C10. Integrate Encroachments. Size and place encroachments in the public right-of-way to visually and physically enhance the pedestrian environment. Locate permitted skybridges toward the middle of the block, and where they will be physically unobtrusive. Design skybridges to be visually level and transparent. |  |  | Projections too great a departure from context and appear heavy/looming from pedestrian scale. |
| C11. Integrate Roofs and Use Rooftops. Integrate roof function, shape, surface materials, and colors with the building’s overall design concept. Size and place rooftop mechanical equipment, penthouses, other components, and related screening elements to enhance views of the Central City’s skyline, as well as views from other buildings or vantage points. Develop rooftop terraces, gardens, and associated landscaped areas to be effective stormwater management tools. |  |  | No roof amenity nor eco-roof proposed. |
| C12. Integrate Exterior Lighting. Integrate exterior lighting and its staging or structural components with the building’s overall design concept. Use exterior lighting to highlight the building’s architecture, being sensitive to its impacts on the skyline at night. |  | Ground level soffit-hung lighting needs more detail re light transmission. |  |
| C13. Integrate Signs. Integrate signs and their associated structural components with the building’s overall design concept. Size, place, design, and light signs to not dominate the skyline. Signs should have only a minimal presence in the Portland skyline. |  | None specified. |  |

Please contact me with any questions or concerns.