## Slide 1
LU 19-145295 DZM
Hyatt Place at 350 NW 12th Ave.
July 18, 2019
Staff Presentation
Type III Land Use Review
City of Portland
Design Commission

## Slide 2
Staff Presentation
Applicant Presentation
Staff Recommendation
Public Testimony
Applicant Response to Public Testimony
Commission Discussion

## Slide 3
Proposal Summary

## Slide 4
Location
Central City Plan District
Pearl Subdistrict

## Slide 5
Zoning
Base Zone:
EX – Central Employment
Overlay:
d - Design Overlay
Floor Area Ratio:
6:1 base, 3:1 bonus possible and unlimited FAR transfers
(approx. 18.7:1 proposed)
Height:
100’ base. 250’ bonus
(250’ proposed)
Northwest Triangle Pedestrian District
Site Concerns:
Future Flanders Greenway

## Slide 6
Approval Criteria
Central City Fundamental Design Guidelines
River District Design Guidelines
PZC 33.825.040: Modifications That Will Better Meet Design Review Requirements

## Slide 7
Context
The Pearl District
13th Avenue Historic District
North Park Blocks
Proposed Flanders Greenway

## Slide 8
Context
Looking North on NW 12th Ave.

## Slide 9
Context
View of the site from NW 12th Ave.

## Slide 10
Context
Looking east on NW Flanders

## Slide 11
Context
Looking south on NW 12th Ave.

## Slide 12
Context
Looking west on NW Flanders

## Slide 13
Context
View from 13th Ave Historic District

## Slide 14
Context
Aerial view of site

## Slide 15
Context
Flanders Greenway

## Slide 16
Program Overview
23-story, 250’ tall (including rooftop elements) mixed-use building on a quarter block
Ground floor hotel and residential entry, hotel lobby and café/lounge area
Levels 2-11: 170 hotel rooms and support spaces.
Levels 12-23: 110 one-bedroom and studio units with balconies.
Level 22: Shared amenity spaces.

## Slide 17
Program Overview
Two standard A loading spaces are accessed from NW 12th Ave
Metal ACM panel, window wall systems, cast-in-place concrete, aluminum storefront systems.
Modification: To long-term bicycle parking, reducing the width from 24” to 18”. (supported)

## Slide 18
Program Overview
Two standard A loading spaces are accessed from NW 12th Ave
Metal ACM panel, window wall systems, cast-in-place concrete, aluminum storefront systems.
Modification: To long-term bicycle parking, reducing the width from 24” to 18”. (supported)

## Slide 19
Project History
Pre-App
2 DARs
West
North
South
East
DAR #1

## Slide 20
Project History
Pre-App
2 DARs
West
North
South
East
DAR #2

## Slide 21
Project History
Pre-App
2 DARs
West
North
South
East
Today

## Slide 22
Modification: Standards for Bicycle Racks
The Standard: A space 2 feet by 6 feet must be provided for each required bicycle parking space…
The Purpose: Ensure that bikes may be securely locked without undue inconvenience and will be safeguarded from damage.
The Proposal: Provide 1’-6” x 6’ vertically-mounted spaces.

## Slide 23
Site

## Slide 24
FLEXIBLE
These streets, pathways and trails are part of a pedestrian and bicycle oriented network that offers quieter, low-stress walking, jogging, rolling or bicycling experiences. Due to their “flexible” character of these connections, the ground floor responses of adjacent buildings varies considerably.
Proposed Development Site

## Slide 25
Site

## Slide 26
Site

## Slide 27
Staff Presentation
Applicant Presentation
Staff Recommendation
Public Testimony
Applicant Response to Public Testimony
Commission Discussion

## Slide 28
Staff Presentation
Applicant Presentation
Staff Recommendations
Public Testimony
Applicant Response to Public Testimony
Commission Discussion

## Slide 29
1. Guidelines A2, A5-3 and A5-4
2. Guideline C8, C9 and C9-1
3. Guideline C2, C4 and C5
4. Guideline C12
A2 - Emphasize Portland Themes, A5-3 Incorporate Water Features, A5-4 Integrate Works of Art
Feature intends to be meet multiple Guidelines yet lacks cohesiveness in integration with the building.
Location and size of feature is unresolved.

## Slide 30
Context
1. Guidelines A2, A5-3 and A5-4
2. Guideline C8, C9 and C9-1
3. Guideline C2, C4 and C5
4. Guideline C12
C8 - Differentiate the Sidewalk Level of Buildings, C9 - Develop Flexible Sidewalk Level Spaces, C9-1 - Reduce the Impact of Residential Unit Garages on Pedestrians
Base of the tower lacks coherency with the body of the tower.
The north and west elevations (street facing) lack coherency and continuity regarding canopies, storefront systems, bay widths, material hierarchy
West
North

## Slide 31
Context
1. Guidelines A2, A5-3 and A5-4
2. Guideline C8, C9 and C9-1
3. Guideline C2, C4 and C5
4. Guideline C12
C2 - Promote Permanence & Quality in Design, C4 - Complement the Context of Existing Buildings, C5 - Design for Coherency
The concept is not entirely coherent regarding the base, middle and top of the tower.
The proposed base was to be drawing from the district but needs further refinement to meet this guideline.
West
North
South
East

## Slide 32
Context
1. Guidelines A2, A5-3 and A5-4
2. Guideline C8, C9 and C9-1
3. Guideline C2, C4 and C5
4. Guideline C12
C12 - Integrate Exterior Lighting
The lighting scheme is not completely identified.

## Slide 33
Staff Recommendations
Staff recommends denial
Denial of Design review
Approval of Modification

## Slide 34
Staff Presentation
Applicant Presentation
Staff Recommendations
Public Testimony
Applicant Response to Public Testimony
Commission Discussion

## Slide 35
Staff Presentation
Applicant Presentation
Staff Recommendations
Public Testimony
Applicant Response to Public Testimony
Commission Discussion

## Slide 36
Next steps
Design Commission Options
Accept staff report and deny the proposal;
Reject staff report and ask staff to return with a report recommending approval; or,
Request the applicant to return with revisions.

## Slide 37
Questions