Exhibit A

## Amendments to Chapter 29.30, Housing Maintenance Requirements

Amend Section 29.30.180 Heating Equipment and Facilities.

A. All heating equipment, including that used for cooking, water heating, dwelling heat, and clothes drying shall be:

1. Properly installed, connected, and maintained in safe condition and good working order;

2. Free from leaks and obstructions and kept functioning properly so as to be free from fire, health, and accident hazards; and

3. Capable of performing the function for which they are designed.

B. Every dwelling shall have a heating facility capable of maintaining a room temperature of 68 degrees Fahrenheit at a point 3 feet from the floor in all habitable rooms.

1. Portable heating devices may not be used to meet the dwelling heat requirements of this Title.

2. No inverted or open flame fuel-burning heater shall be permitted. All heating devices or appliances shall be of an approved type.

C. When the owner or operator of a residential rental property has agreed to furnish heat, and the outside temperature is below 68 degrees Fahrenheit, all dwelling units on the property shall be furnished with heat sufficient to maintain a temperature of not less than 68 degrees Fahrenheit at a height of 3 feet from the floor, between the hours of 7:00 a.m. and 10:30 p.m. at all times.