MEMORANDUM

Date:	June 10, 2016

To:	Portland Design Commission

From:	Jeff Mitchem, Development Review

jeffrey.mitchem@portlandoregon.gov

503-823-7011

Re:	LU 16-104926 DZMAD – 1133 SW Market St

Commission Hearing Date – June 16, 2016

Attached, please find a revised Drawing Set and Staff Report (recommending approval). Excerpted from the Staff Report, the following summarizes the Applicant’s response to key issues identified by Commission at the June 2, 2016 hearing.

- Generator fuel port. The ground floor window at the east end of the south elevation was replaced with a louver vertically aligned with the windows on the floors above.  The fuel port is behind the louver in a removable section at the base.

- Penthouse Glazing. Three stucco bays on the south and west walls of the penthouse were replaced with windows featuring a mullion pattern to match the windows on the corner element.

- Concrete Base. The concrete base beneath the ground floor storefront at the entry to the game room was lowered to sidewalk grade with a small curb

- Mullion Pattern on Corner Element. The window mullion spacing on all levels of the corner element was simplified and enlarged. The entire corner element is now all glass better reinforcing the parti diagram. The windows were made as large as possible per VPI.

- End-wall Patterning. The stucco patterning on the upper level of the north and east end-walls was removed and replaced with control joints with spacing decrease shift at upper two floors.

- Stucco Color. To create unity and simplicity all the stucco was changed to a single light color (they grey body was changed to light color).

- Metal PTHP Louvers. All the PTHP louvers now have a metal frame around them.

Please don’t hesitate to reach out if you have questions or concerns.