## Slide 1: PWB Title 21 Amendment
Middle Housing Inclusion & Clarifications
Jodie Inman
Chief Engineer
Portland Water Bureau

## Slide 2: Title 21 Amendment
Amend Title 21 Water code to comply with the new state law middle housing requirement, correct a previous inadvertent omission, and clarify backflow prevention language.
(Amend Code Sections 21.04.010, 21.08.020, 21.12.010, and 21.12.320)

## Slide 3: Middle Housing: Title 21.12.010
Middle Housing (RIP 2)
  New State Law (SB 458) passed in 2021
  Requires jurisdictions allow creation of land locked parcels for ownership
  Title 21 currently prohibits service to land locked parcels
  Amendment allows via private easements

## Slide 4: Backflow prevention: Title 21.04.010, 21.12.320
Backflow prevention devices
  Prevent contamination of public water system
  Required by Oregon Administrative Rule (OAR) 333.061
  Amendments clarify:
    Definition
    When required
    Where devices should be placed
    Link to “Backflow Assembly Installation Requirements” document
Notes:   Premises isolation backflow devices required by OAR 333.061 to prevent contamination of public water system
  Amendments clarify:
    Definition to be “premises isolating backflow prevention”
    When required, is a condition of new or continued service
    Where premises isolation backflow devices should be placed
  Includes link to PWB “Backflow Assembly Installation Requirements” document

## Slide 5
Backflow
Backflow preventers keep contaminants from flowing back into the drinking water supply.
LAWN IRRIGATION SYSTEMS
SWIMMING POOLS
INDUSTRIAL SYSTEMS
MEDICAL SYSTEMS
HEATING + COOLING
FIRE + SPRINKLER SYSTEMS
PUBLIC DRINKING WATER SUPPLY
Clean water
BACKFLOW PREVENTER
Notes: A backflow preventer acts as a one-way valve, allows water to go in, but will not allow water to flow out. This can happen when there is high demand or low pressure in the public system that wants to “draw water” from the private plumbing.

## Slide 6: Subdivision cost sharing: Title 21.08.020
Main extension cost sharing
  Title 21 allows limited cost sharing on certain main extensions
  Cost sharing on subdivisions has never been allowed
  Unintendedly omitted in 2020 Code re-write
  2022 code amendment reinserts
Notes: Examples of Cost Sharing:
Public and private benefit from proposed private financed water systems
Example: extends water main that allows WB to serve other properties
Excludes:
City and other government projects
Newly paved streets
State or County roads
Highways or freeways
Cross or are affected by rail facilities
Under non-City standard paving material

## Slide 7: Thanks!
Jodie Inman
Jodie.Inman@portlandoregon.gov
503 823 5965
Portland.gov/water
PortlandWater
PortlandWaterBureau
PortlandWaterBureau
E-news: eepurl.com/gcWEjj