Chapter 31.10

ADMINISTRATION

(New Title substituted by Ordinance

No. 173410, effective May 26, 1999.)

Sections:

31.10.010	Title.

31.10.020	Police Power.

31.10.030	Scope.

31.10.040	Continuation.

31.10.045	Definitions.

31.10.050	Provisions Additional to State and Federal Law.

31.10.060	Bureau of Fire to Administer.

31.10.070	Fire Prevention Division Created.

31.10.080	Supervision of the Fire Prevention and Inspection Division.

31.10.090	Fire Marshal and Assistants.

31.10.100	Fire and Arson Investigation.

31.10.110	Fire Marshal Authorized to Require Building Alterations.

31.10.115	Rules and Regulations.

31.10.120	Adoption of the Oregon State Statutes.

31.10.130	Adoption of Oregon Administrative Rules, Fire Marshal, Chapter 837.

31.10.135	Adoption of Uniform Fire Code, 2000 Edition.

31.10.140	Standards of the National Fire Protection Association.

31.10.145	Maintenance of Fire Protection Systems in Five Story Apartment Buildings.

31.10.150	Board of Appeals.

31.10.160	Charges for Copies of Bureau of Fire Records.

31.10.170	Use of Helicopters.

31.10.010	Title.

This Title shall be known as the "Fire Regulations" and may be so cited and pleaded and is referred to herein as "this Title."

31.10.020	Police Power.

This Title shall be deemed an exercise of the police powers of the City for the preservation and protection of the public health, peace, safety and welfare, and all of its provisions shall be liberally construed for that purpose.

31.10.030	Scope.

The provisions of this Title shall apply equally to both public and private property, and shall be binding upon public officers and employees and all other persons except as may be otherwise specifically provided herein.  This Title shall apply to all new structures and their occupancies including buildings, structures, equipment, etc. and, except as otherwise specified, to existing structures, and their occupancies including buildings, structures, equipment, etc., which constitute a hazard to life or to property.

31.10.040	Continuation.

The provisions of this Title, insofar as they are substantially the same as existing titles and/or ordinances relating to the same subject matter, shall be construed as restatements and continuations and not as new enactments.

31.10.045	Definitions.

(Added by Ordinance No. 175646, effective July 1, 2001.)  Unless otherwise defined in a specific section of this title, the following definitions shall be used throughout this Title.

A.	"Building" is any structure used or intended for supporting or sheltering any use or occupancy.

B.	"Entity" includes a corporation, foreign corporation, nonprofit corporation, profit and nonprofit unincorporated association, business trust, estate, partnership, trust, two or more persons having a joint or common economic interest, any state, the United States and any foreign government.

C.	"Fire Code" means the 2000 Uniform Fire Code with City of Portland, Oregon Amendments including the Uniform Fire Code Standards, 1997 Edition as adopted in section 31.10.135.

31.10.050	Provisions Additional to State and Federal Law.

(Amended by Ordinance No. 175646, effective July 1, 2001.)  This Title shall be applicable in addition to the measures of fire prevention as set forth in the laws and regulations of the State of Oregon and the United States.

31.10.060	Bureau of Fire to Administer.

The provisions of this Title shall be administered by the Bureau of Fire unless otherwise specified in this Title.

31.10.070	Fire Prevention Division Created.

(Amended by Ordinance No. 175646, effective July 1, 2001.)  There shall be, in the Bureau of Fire, a division known and designated as the Fire Prevention Division.

31.10.080	Supervision of the Fire Prevention Division.

(Amended by Ordinance No. 175646, effective July 1, 2001.)  The Fire Prevention Division shall be under the supervision of the Fire Chief.  The Fire Chief shall be responsible for all fire prevention in the City and for the enforcing of the various provisions of this Title or any subsequent amendments to the same.

31.10.090	Fire Marshal and Assistants.

(Amended by Ordinance No. 175646, effective July 1, 2001.)  The personnel of the Fire Prevention Division shall consist of a Fire Marshal and as many Chief Deputy Fire Marshals, Senior Fire Inspectors and Fire Inspectors as may be allowed and provided by the City Council.  The Fire Marshal shall report directly to the Fire Chief.

31.10.100	Fire and Arson Investigation.

(Amended by Ordinance No. 175646, effective July 1, 2001.)  There shall be, in the Fire Prevention Division of the Bureau of Fire, a section designated as the "Fire and Arson Investigation Unit" which shall be considered a law enforcement unit of the City of Portland.  Personnel assigned to this unit shall be designated peace officers, for the purpose of determining the cause of fires and detecting arson and for the purpose of enforcing this Code and any other codes, rules or regulations incorporated therein.  This unit shall be charged with the enforcement of the criminal laws of the State of Oregon relating to the crimes of arson, reckless burning, insurance fraud, and other related crimes.

31.10.110	Fire Marshal Authorized to Require Building Alterations.

(Amended by Ordinance No. 175646, effective July 1, 2001.)  Whenever the Fire Marshal shall find that the means of egress from a building or portion thereof, or that the means of preventing the origin or spread of fire or of extinguishing fire in any building or portion thereof, are insufficient or inadequate, he or she is hereby authorized and empowered to direct and require that any such building or portion thereof be rearranged, altered, or repaired to be sufficient and adequate in such respects.

31.10.115	Rules and Regulations.

(Amended by Ordinance No. 175646, effective July 1, 2001.)  The Fire Marshal, with the approval of the Fire Chief, is authorized to make and enforce such rules, regulations and policies for the prevention and control of fires and fire hazards, as may be necessary to carry out the intent of this Title.

31.10.120	Adoption of Oregon State Statutes.

(Amended by Ordinance No. 175646, effective July 1, 2001.)

A.	In order to obtain from the State Fire Marshal an exemption, in accordance with ORS 476.030(3) from the statutes, rules and regulations administered by the State Fire Marshal, the City hereby adopts and incorporates into this title by reference the following provisions of the Oregon Revised Statutes:  ORS 476.005, 476.010, 476.150 through 476.290, 476.380, 476.715 through 476.990(5), 479.015, 479.090, 479.140, 479.150, 479.170, 479.190, 479.195, 479.210 through 479.300, 479.990(6), 480.110, 480.120, 480.124, 480.127, 480.140, 480.152, 480.154, 480.158, 480.160, 480.290, 480.310 through 480.340, 480.410 through 480.430, 480.450, 480.990 (5), (7) and (8).

B.	Where reference is made to the State Fire Marshal in the Oregon Revised Statutes mentioned in subsection A, the term "City Fire Marshal" shall be substituted for it.

31.10.130	Adoption of Oregon State Administrative Rules, Fire Marshal Chapter 837.

(Amended by Ordinance No. 175646, effective July 1, 2001.)

A.	In order to obtain an exemption in accordance with ORS 476.030(3) from the statutes, rules and regulations administered by the State Fire Marshal, the City hereby adopts and incorporates into this Title by reference the following administrative rules adopted by the State Fire Marshal:

1.	Oregon Administrative Rules Chapter 837.

2.	Division 12, Public Display of Fireworks in Oregon.

3.	Division 20, Flammable and Combustible Liquids.

4.	Division 30, Liquefied Petroleum Gas, Sections 837-30-030 and 035.

5.	Division 41, Fire Protection Regulations Relating to Institutional Care Facilities.

6.	Division 43, Fire Protection Regulations Relating to Existing Group Care Facilities.

7.	Division 44, "No Smoking" Signs in Public Elevators.

8.	Division 45, Smoke Detectors.

B.	Where reference is made to the State Fire Marshal in the Oregon State Fire Marshal Administrative Rules, the term "City Fire Marshal" shall be substituted for it.

31.10.135	Adoption of Uniform Fire Code, 2000 Edition.

(Amended by Ordinance No. 175646, effective July 1, 2001.)  In addition to the provisions of this Title, and as a supplement thereto, in order to regulate those conditions hazardous to life and property from fire or explosion that are not specifically addressed by this Title, the City hereby adopts, with the exceptions noted below, the 2000 Edition of the Uniform Fire Code, including Appendices, as amended by the City of Portland effective July 1, 2001, hereinafter referred to as the “2000 Uniform Fire Code with City of Portland, Oregon Amendments” and including the Uniform Fire Code Standards,  1997 Edition, promulgated by Uniform Fire Code Association.

31.10.140	Standards of the National Fire Protection Association.

(Amended by Ordinance No. 175646, effective July 1, 2001.)

A.	When requested by a building owner the Fire Marshal may use criteria from an edition of a National Fire Protection Association Standard that is more current than adopted by Article 90 of the 2000 Uniform Fire Code.

B.	Unless specifically provided for in other titles of the Code, where requirements of this Title do not provide necessary regulation or are not fully detailed with regard to processes, methods, specifications, equipment testing and maintenance, standards of design, performance and installation and other pertinent criteria, the City adopts Volumes 1 through 8 of the 2000 Edition of the National Fire Codes as published by the National Fire Protection Association.

31.10.145	Maintenance of Fire Protection Systems in Five Story Apartment Buildings.

(Amended by Ordinance No. 175646, effective July 1, 2001.)  The owners of Five Story Apartment Buildings of Type V-1 hour construction approved under City Building Regulations Title 24.95 shall be responsible for assuring that the fire and life-safety systems required by the Building Code and Title 24 are maintained in an operable condition at all times.  Unless otherwise required by the Fire Chief, quarterly test of such systems shall be conducted by approved persons.  A written record shall be maintained and shall be forwarded to the Fire Marshal and be available to the inspection authority.

31.10.150	Board of Appeals.

(Amended by Ordinance No. 177816, effective August 27, 2003.)

A.	Creation.

1.	The Fire Code Board of Appeals, having been established, is hereby continued.

2.	The Board shall consist of three members, and an alternate for each member, each member and alternate to serve a term of three years.

3.	The Mayor shall appoint and may remove any member or alternate from the Board at any time.

4.	Board members and alternates must by experience and training be qualified to pass on the provisions of this Title as they affect the interests of the City as a whole.  No member or alternate shall be an officer, official or employee of the City.  No two members or alternates shall be engaged in the same business, profession or occupation.

B.	Election of Chairman.  The Board annually shall elect a Chairman from among the three members of the Board.

C.	Disqualification of members.  No member or alternate shall hear or act on a matter in which he or she has any interest, direct or indirect, pecuniary or otherwise.  In the event of such an interest, the member's alternative shall hear and determine the matter.

D.	Meetings.  Meetings of the Board shall be held at the call of the Chairman, who shall call meetings at the Fire Marshal's request.

E.	Standing for appeal.  The following persons, firms or corporations, herein called appellants, may appeal to the Board of Appeals:

1.	Any person, firm or corporation who or which has been ordered by the Fire Marshal to incur any expense under any provision of this Title;

2.	Any person, firm or corporation whose application for a permit or approval under this Title has been refused by the Fire Marshal; or

3.	Any person, firm or corporation whose special case is not specifically covered by this Title.

F.	Procedure on appeal.  Within 10 days after the order or action of the Fire Marshal from which the appeal is taken, the appellant shall serve written notice of appeal on the Fire Marshal, specifying the nature of the order or action appealed from and the basis for the appeal.  The Fire Marshal shall transmit copies of the notice of appeal to the Board of Appeals and to the Commissioner In Charge.

G.	Notice of hearing.  Not less than 10 days prior to the date of the hearing, the Board shall mail notice of the date, time and place of the hearing to the appellant, by certified mail, return receipt requested.

H.	Board's authority on appeal.  After the hearing, the Board may by a majority vote, affirm, annul or modify the action of the Fire Marshal, provided, however, in any matter relating to or involving fire prevention, fire safety measures, or building construction requirements for safety, any modification of a strict application of this Title shall be made only on condition that a substantially equivalent degree of safety is provided generally conforming to national standards concerning fire prevention, fire safety measures and building construction requirements for safety.

I.	Variances.  Where unquestionably and clearly, practical difficulties, unnecessary hardship or consequences inconsistent with the general purposes of this Title may result from the literal interpretation and enforcement thereof, the Board of Appeals may grant adjustment of variances in a specific case with such conditions and safeguards as it may determine, in harmony with the general purpose, intent and spirit of this Title, so that the public safety and welfare shall be secured and substantial justice shall be done.

J.	Number of Board members required to concur.  The grant of a variance as provided in the previous subparagraph I, shall be by unanimous vote of the Board.  The decision of the Board interpreting the provisions of this Title may be by a majority vote of the Board.

K.	The Board shall deliver a certified copy of its decision to the appellant.

L.	Filing fee for appeal.  With the notice of appeal, the appellant shall pay to the City Treasurer a filing fee of $200.

M.	Report to the Council.  The Board of Appeals shall submit to the Council on or before the first day of August of each year a report summarizing its decisions for the preceding fiscal year together with its recommendations for amendments to this Title.

31.10.160	Charges for Copies of Bureau of Fire Records.

(Amended by Ordinance No. 175646, effective July 1, 2001.)

A.	Upon written application, under the Public Records Law, accompanied by the fee hereinafter set out, the Fire Marshal may furnish photocopies of fire incident reports, non-confidential fire investigation reports, fire prevention inspection reports and other bureau related information.

1.	Requests and copies of fire incident reports and non-confidential fire investigation reports -- $10.00

If there is no copy on file, the fee will not be refunded.

If there is one on file, the fee includes a copy of up to five pages.

Should a report exceed five pages, an additional charge of $2 per page will apply.

2.	Other documents -- $0.50/page

Unless alternate fee set pursuant to City Code 3.20.360.

- Supervised inspections -- hourly rate of Bureau employee supervising inspection.

4.	Reproduction of other audio or video records or Tapes -- $22.50 /hour.

5.	Fire scene photographs, 3x5 reproduction -- $2.00/photo; 8x10 or 8x12 reproduction -- $10.00/photo.

B.	Nothing in this section shall be construed as applying to any City, County, State or Federal agency, or subdivision thereof, or any nationally recognized nonprofit agency engaged in the suppression or prevention of fire, which shall make a request for fire safety, cause, or loss information.

31.10.170	Use of Helicopters.

(Amended by Ordinance No. 175646, effective July 1, 2001.)  Notwithstanding any other provisions of this Code, the Bureau of Fire may use and land helicopters any place within the City, subject to Federal and State regulations for the purpose of training Bureau of Fire personnel and helicopter operators in fire suppression techniques and disaster relief procedures and for the purpose of conducting disaster relief drills subject to the consent of the property owner or in the case of City property, the director of the affected bureau.

Chapter 31.20

ENFORCEMENT

Sections:

31.20.010	Fire Hazard.

31.20.020	Eliminating Fire Hazard.

31.20.024	Illegal Occupancy

31.20.030	Remedies.

31.20.040	Authority at Fires or Other Emergencies.

31.20.050	Building Imminently Dangerous.

31.20.060	Obstructing Exits.

31.20.070	Temporary Fire Watch Patrol.

31.20.080	Access Roadways for Fire Apparatus.

31.20.090	Water Supply.

31.20.100	Fire Escape Maintenance Standards.

31.20.010	Fire Hazard.

(Amended by Ordinance No. 175646, effective July 1, 2001.)  "Fire hazard" means any thing or act which increases or may cause an increase of the hazard or menace of fire to a greater degree than that customarily recognized as normal by persons in the public service regularly engaged in preventing, suppressing or extinguishing fire; or which may obstruct, delay, hinder or interfere with the operations of the Bureau of Fire or the egress of occupants in the event of fire.

31.20.020	Eliminating Fire Hazard.

(Amended by Ordinance No. 175646, effective July 1, 2001.)

A.	Any person, firm or corporation, occupying, using or having charge or control of any premises, or any part of any premises, who creates or maintains a condition, or situation which constitutes a fire or explosion hazard, or who fails to promptly comply with the written notice of the Bureau of Fire, shall be deemed guilty of a violation of this Title.

B.	In case of fire resulting directly or indirectly from such failure or neglect to promptly comply with the notice of the Bureau of Fire, the person, firm or corporation so notified shall be liable in a civil action for the payment of all expenses incurred by the City in extinguishing any fire resulting from such failure or neglect.

C.	The amount of such expense shall be fixed by the Commissioner having charge of the Bureau of Fire.  When collected, such sum shall be paid into the general fund of the City.

D.	Any person, firm or corporation occupying, using or having charge of any premises, or any part of any premises, who creates or maintains any condition or situation which constitutes a fire or explosion hazard and who fails to correct such unsafe condition, or fails to abate or to commence abatement of the violation of any provision of this Title within 30 days after receiving written notice from the Bureau of Fire to do so, shall be charged and required to pay a reinspection fee of $100 if violations remain uncorrected at the time of the first reinspection, a $200 reinspection fee if violations remain uncorrected at the time of the second reinspection, and a $400 reinspection fee for the third and subsequent reinspections if violations remain uncorrected at that time.

E.	Any person, firm or corporation so charged for reinspection fees who does not feel that the charges are appropriate may appeal such charges pursuant to City Code Section 31.10.150.

F.	The amounts of all such charges assessed pursuant to this Section shall be paid to the City Auditor, for deposit into the general fund of the City.

31.20.024	Illegal Occupancy.

(Amended by Ordinance Nos. 175646 and 176955, effective October 9, 2002.)  It is a violation of this Title to use or occupy a building in a manner other than the approved use as recorded in the files of the Bureau of Development Services or in a manner not authorized by City Code.

31.20.030	Remedies.

(Amended by Ordinance No. 175646, effective July 1, 2001.)

A.	In enforcing any of the requirements of this Title, the Fire Marshal may gain compliance by:

1.	Instituting a proceeding before the Code Hearings Officer as set out in Title 22 of this Code;

2.	Causing appropriate action to be instituted in a court of competent jurisdiction; or

3.	Taking such other action as the Fire Marshal, in the exercise of his or her discretion, deems appropriate.

B.	Nothing in this Section shall be construed to afford the right to appeal an order of the Fire Marshal to the Code Hearings Officer as set out in Title 22 of this Code.

31.20.040	Authority at Fires or Other Emergencies.

(Amended by Ordinance No. 175646, effective July 1, 2001.)

A.	The Fire Marshal or any of his or her assistants, the Fire Chief, or any member of the Bureau of Fire in charge of fire fighting at a fire, or the Chief of Police or any member of the Bureau of Police in charge of police officers attending a fire, may immediately, summarily and without being required to give any notice whatsoever, cause the use and/or occupancy of all or any portion of a building or structure which is found to be in danger of fire resulting from the spread of an existing fire to be discontinued and may close said building or structure or part thereof during such period of danger, and prevent the use and occupancy thereof.  Such officer may use such force as he or she may find reasonably necessary to protect human life.  It is unlawful for any person to refuse to leave such building, structure or portion thereof when ordered to vacate the same under authority of this Section.

B.	The Fire Chief or the Fire Chief’s authorized representatives shall be in charge of the scene of an emergency involving the saving of life and/or property from fire or other disaster, emergency medical services, hazardous materials incidents, or other emergency aid and shall have the power and authority to direct such operation as may be necessary in the reasonable performance of their duty.

31.20.050	Building Imminently Dangerous.

(Amended by Ordinance No. 175646, effective July 1, 2001.)

A.	If the Fire Marshal finds that for any reason, a building, structure, piece of equipment or process is manifestly unsafe for the purpose for which it is being used or is a fire hazard, as defined in Section 31.20.010, the Fire Marshal shall immediately, summarily, and without being required to give any notice whatsoever, cause the use and/or occupancy of all or any portion of such building or structure in which such fire hazard exists to be discontinued and may close said building or structure or part thereof by posting of notice or by barricade or other means, and prevent the use or occupancy.

B.	It is unlawful for any person to refuse to leave such building, structure or portion thereof when ordered by the Fire Marshal to vacate the same.

C.	The owner or person responsible for the existence or maintenance of such fire hazard may within 10 days after such summary action is taken appeal pursuant to City Code Section 31.10.150 asking that the premises or portion thereof be reopened for occupancy.  If upon such appeal the Appeal Board finds that such summary action was reasonable, said premises or the portion thereof vacated shall not be reused or reoccupied until such time as such fire hazard shall have been eliminated.

D.	The Fire Marshal may require vacation of the adjoining buildings, closing up of entrances, barricading of the sidewalk and streets, or any other precaution including disconnection of utility services, immediate dismantling or removal of installations, materials or substances, and the wrecking of all or any portion of the building or structure that he or she may find necessary as an emergency measure to safeguard human life.

E.	Summary action under this Section and any appeal therefrom shall be in addition to any other procedures applicable under this Title.

F.	Notwithstanding the mandatory directives to the Fire Marshal contained in this Subsection, the Fire Marshal may, in the exercise of his authority, and in lieu of ordering the vacation of such building or structure, impose alternative interim measures, including, but not limited to, the imposition of a fire watch as established in Section 31.20.070, when, in the opinion of the Fire Marshal, such interim measures will reduce such hazard so that it is no longer imminently dangerous so that persons may temporarily occupy such building or structure, until such hazard has been abated.

G.	The owner, the owner's agent, or the occupant shall reimburse the City for any expenditures by the Fire Marshal in precautionary measures under this Section or such expenditures shall be included as an additional item and be spread as an assessment against the property.

H.	If a building or structure used for low income multi-family housing is found to be imminently dangerous, as set forth in Subsection A of this Section, the Fire Marshal shall not cause the use and/or occupancy of the building or structure to be discontinued immediately, but shall report the matter to the Commissioner In Charge who shall report the matter to the Council for consideration of rehabilitation and repair by the City, provided that the Fire Marshal, in the exercise of his discretion, finds that interim measures, including but not limited to a fire watch, will reduce the hazard so that it is no longer imminently dangerous until the Council has heard the matter, as set forth in Title 24.

31.20.060	Obstructing Exits.

(Amended by Ordinance No. 175646, effective July 1, 2001.)

A.	It is unlawful under any circumstances to close up or obstruct stairs, exits, or the approaches leading thereto in any building.  No exit door in any building shall be locked in any manner that will prevent its being immediately operable by any occupant from the inside of the building while such building or structure is in use.

B.	If the Fire Marshal determines that a required exit, or exitway is not immediately available for use because of being locked, blocked, chained, modified, or otherwise limited in use and the present occupancy of the building is such that the building is imminently dangerous, as described in Section 31.20.050 because of this condition, he or she shall immediately contact the owner, manager, or other person present and in charge of the building and order the exit or exitway made usable.  In the event that the Fire Marshal is unable to locate a person in charge in the building, or in the event the person in charge of the building fails to open the exit or exitway immediately to full use, he or she shall cause the person to be cited as authorized by Section 31.20.030 of this Title and determine if it is practical to cause the building to be vacated in order to eliminate the imminently dangerous condition.  If the Fire Marshal determines that it is impractical considering the nature of the occupancy, the time of day, the number of persons involved, and the demeanor of the persons involved, and that the exitway can be made usable, by summary abatement of the exit or exitway limitation, he or she is authorized to cause the exitway or exit to be made usable to the extent necessary to eliminate the imminently dangerous condition.  The cost thereof shall be charged against the property using the procedure provided for in Title 22.  The owner, manager, or other person in charge shall be immediately notified of the action taken and ordered by the Fire Prevention Division to secure the premises in full compliance with the Portland City Code.

C.	It is unlawful under any circumstances for any person to stand, sit or otherwise occupy, so as to obstruct, any stairs, exits, or the approaches leading thereto in any building.

D.	Overcrowding.  No person shall permit overcrowding or admittance of any person beyond the approved capacity of any place of public assemblage.  The Fire Marshal, upon finding any overcrowding conditions or obstruction in aisles, passageways or other means of egress; or upon finding any condition which constitutes a serious menace to life, may cause the performance, presentation, spectacle or entertainment to be stopped until such condition or obstruction is corrected.

E.	As an alternative to the remedy specified in Subsection D of this Section, the Fire Marshal may revoke the public assembly permit, provided for in Chapter 31.40, as follows:

1.	For the first offense in any 2 year period, revoke the permit for one day and/or performance, or until the condition is corrected.

2.	For the second offense in any 2-year period, revoke the permit for 3 days and/or performances, or until the condition is corrected.

3.	For the third offense in any 2-year period, revoke the permit for 15 days and/or performances.

4.	For the fourth and subsequent offenses in any 2-year period, revoke the permit for 30 days and/or performances.

F.	Any person, firm or corporation aggrieved by the action of the Fire Marshal under Subsection E of this Section may appear before the Fire Marshal to show cause why the permit should not be revoked and may appeal to the Fire Code Board of Appeals, as provided in 31.10.150.  The permit shall remain valid, pending the decision of the Board of Appeals.

31.20.070	Temporary Fire Watch Patrol.

(Amended by Ordinance No. 175646, effective July 1, 2001.)

A.	In order to avoid relocating persons from, or the vacation of, any structure, place of business or place of habitation that is imminently dangerous, as described in 31.20.050, the Fire Marshal or senior fire officer may, if he or she determines that a reasonable level of fire and life safety can be obtained, order the owner, agent, or manager to provide either a licensed, bonded security agency or an employee or volunteers, approved by the Bureau of Fire, to perform as a fire watch, making periodic patrols, as designated by the Bureau of Fire, as a condition of allowing continued occupancy of the structure, place of business, or place of habitation.

B.	If a licensed, bonded security agency or an employee fire watch patrol, or volunteers, approved by the Bureau of Fire, are not available, or able to make such periodic patrols as ordered by the Fire Marshal or senior fire officer, or if no owner, agent or manager is available, or if the owner, agent or manager of such fire watch patrol does not comply with such orders of the Bureau of Fire, then the Fire Marshal or senior fire officer may order off duty Bureau of Fire personnel back to duty to provide the fire watch patrol.

C.	As an additional alternative to implementing a fire watch patrol, the Fire Marshal or senior fire officer may contract with a licensed, bonded security company to provide such service, and the owner of the involved property shall be responsible for all reasonable costs incurred by such security company for such patrols.

D.	The owner of the structure, business, or place of habitation shall be responsible for paying all costs incurred by the Bureau of Fire, and such person shall pay this cost to the City Treasurer who will reimburse the Bureau of Fire’s budget for this expense.  If such costs are not paid within 30 days of billing by the Bureau of Fire, then an assessment for such costs shall be made by ordinance and shall be entered in the docket of City liens, and, upon such entry the same shall constitute a lien upon the property upon which the call back fire watch patrol was provided, which lien shall be collected in all respects as provided for in Section 31.20.020, and shall bear interest at the rate of  9 percent per year from 10 days after the date of entry into the lien docket.

31.20.080	Access Roadways for Fire Apparatus.

(Amended by Ordinance No. 175646, effective July 1, 2001.)

A.	Required Construction.  Every building hereafter constructed shall be accessible to fire department apparatus by way of streets designed in accordance with Title 34, or roadways of not less than 20 feet of unobstructed width, with adequate roadway turning radius, capable of supporting the imposed loads of fire apparatus and having a minimum of 13 feet 6 inches of vertical clearance.  Dead-end fire department access roads in excess of 300 feet in length shall be provided with approved provisions for the turning around of fire department apparatus at the closed end.

Exceptions:

1.	Width may be reduced to 12 feet when an approved means of fire department access serves not more than two single family residential dwellings (Group R, Division 3 Occupancy) or private garages, carports and sheds (Group U Occupancy).

2.	Streets of less than 20 feet clear width will be approved when constructed in accordance with the Local Street Standards adopted by the Portland City Council in 1991.

B.	Obstructing.  The required width of access roadways shall not be obstructed in any manner, including parking of vehicles.  NO PARKING signs or other appropriate notice, or both, prohibiting obstructions may be required and shall be maintained.

C.	Extent. All exterior doors, accessible by grade, of every facility, building or portion of a building shall be within 150 feet of an approved means of fire department access.  Where fire department access cannot be provided, approved fire protection system or systems shall be provided as required and approved by the Chief.

Exceptions:

1.	When Buildings are completely protected with an approved automatic fire sprinkler system, the provisions of this section may be modified by the Fire Chief.

2.	When access roads cannot be installed do to location on property, topography, waterways, nonnegotiable grades or other similar conditions, the Fire Chief is authorized to require additional fire protection.

3.	When there are not more than two Group R, Division 3, or Group U Occupancies, the requirements of this section may be modified by the chief.

D.	Fire protection alternate.  Where the Chief approves a fire protection system, the Chief may also modify the access requirements set out in Subsection A of this Section.

E.	Oversizing.  The Chief shall have the authority to require an increase in the minimum access widths where such width is not adequate for fire or rescue operations.

F.	Bridges.  Where a bridge is required to be used as access under this Section, it shall be constructed and maintained in accordance with the applicable sections of the Building Code and using design live loading sufficient to carry the imposed loads of the fire apparatus.

G.	The Chief of the Bureau of Fire shall have authority to remove on-street parking from any street less than 32 feet in width when any of the following conditions apply:

1.	The Chief determines that site-specific conditions (such as too-tightly-curved roadway alignment) render the travel lanes useless for access of fire apparatus.

2.	Actual emergency response experience clearly indicated that emergency vehicles cannot provide service.

31.20.090	Water Supply.

(Amended by Ordinance No. 175646, effective July 1, 2001.)

A.	An approved water supply capable of supplying required fire flow for fire protection shall be provided to all premises upon which buildings or portions of buildings are hereafter constructed.  When any portion of the building protected is in excess of 150 feet from a water supply on a public street, there shall be provided, when required by the Fire Chief, on-site fire hydrants and mains capable of supplying the required fire flow.  Water supply may consist of reservoirs, pressure tanks, elevated tanks, water mains or other fixed system capable of supplying the required fire flow.  The Fire Chief shall set the required fire flow and may be guided by Appendix III A of the 2000 Uniform Fire Code.  The location, number and type of fire hydrants connected to a water supply capable of delivering the required fire flow shall be provided on the public street or on the site of the premises to be protected as required and approved by the Fire Chief.  All hydrants shall be accessible to the fire department apparatus by roadways meeting the requirements of Section 31.20.080.  Hydrants installed and maintained by private property owners shall be painted red.

B.	Timing of installation.  When fire protection facilities are to be installed by the developer, such facilities including all surface access roads shall be installed and made serviceable prior to and during the time of construction.  When alternate methods of protection, as approved by the Fire Chief, are provided, the above may be modified or waived.

C.	Approval and testing.  All fire alarm systems, fire hydrant systems, fire extinguishing systems (including automatic sprinklers), wet and dry standpipes, basement inlet pipes, and other fire protection systems and appurtenances thereto shall meet the approval of the Fire Prevention Division as to installation and location and shall be subject to such periodic tests as required by the Fire Chief.  Plans and specification shall be submitted to the Fire Prevention Division for review and approval prior to construction.

D.	Automatic fire pumps.  Where required by the Fire Chief, a minimum of two fire pumps independently driven shall be provided and sized for the sprinkler demand and a minimum 500 gpm fire department standpipe operation.

E.	Combined system.  In combined sprinkler and standpipe systems where sprinkler risers with 2-1/2 inch hose outlets are provided, the risers and supply piping to the risers shall be sized to accommodate a supply of 500 gpm at 65 psi at the topmost two outlets (250 gpm per outlet); or the sprinkler demand, whichever is greater.

31.20.100	Fire Escape Maintenance Standards.

(Amended by Ordinance Nos. 175646 and 176955, effective October 9, 2002.)

A.	Fire escapes shall be subject to reinspection as required by the Fire Marshal, who may require an engineer's report to show compliance with the requirements of this Section.

B.	Fire escapes shall comply with the following standards:

1.	Fire escape stairways and their landings shall support their dead load plus a live load of not less than 100 pounds per square foot or concentrated load of 300 pounds placed anywhere on the landing, balcony or stairway so as to produce the maximum stress.

2.	All stairway and balcony railings shall support a horizontally applied force of not less than 50 pounds per lineal foot of railing applied at top of railing, or a concentrated load of 200 pounds placed anywhere on the railing so as to produce the maximum stress.

3.	Fireman's ladders shall be designed and connected to the building to withstand a horizontal force of 100 pounds per lineal foot in any direction; each rung shall support a concentrated load of 500 pounds placed anywhere on the rung so as to produce the maximum stress.  Ladder assemblies shall have a minimum vertical load capacity of 100 pounds per lineal foot for each foot of width.

4.	Test loads shall be twice that of the working loads specified in this Section.

C.	Engineer's report.  When required by the Fire Marshal, fire escapes shall be inspected, analyzed and/or tested to show compliance, or non-compliance, with the above standards.  Particular attention shall be paid to the connection of the fire escape to the building.  Such inspection, analysis and/or testing shall be performed by a professional engineer registered in Oregon, except that testing may be done by an approved testing agency when done under the direction of the engineer.

The findings of the engineer shall be summarized in a report and three copies submitted to the Bureau of Development Services. All deficiencies identified in the Engineer’s findings or the review of the Bureau of Development Services shall be corrected.

D.	Removal of Fire Escapes.  After conferring with the Building Official, the Fire Marshal may approve requests for the removal of fire escapes when a review determines the remaining exiting and life safety system complies with the current Building Code or is judged to provide equivalent exiting safety.  The review should include the number of exits, access and arrangements of exits, location of standpipes, and presence of automatic sprinklers and automatic detection.

E.	Removal of counter-balance stair.  When counter-balance stairs required by ORS 479.050 could be used by unauthorized persons to enter a building, the Fire Marshal may approve requests for the counter-balance removal when alternative measures are judged to be equivalent.

Chapter 31.30

REWARDS

Sections:

31.30.010	Reward for Information.

31.30.020	Rewards Review Committee and Fund.

31.30.030	Bureau of Fire, Rescue and Emergency Services Investigative Fund.

31.30.040	Purpose of the Fund.

31.30.050	Disbursements from the Fund.

31.30.060	Amount of Fund.

31.30.070	Accounting.

31.30.010	Reward for Information.

(Amended by Ordinance Nos. 175646 and 176585, effective July 5, 2002.)  By entitlement as determined by the Rewards Committee established and empowered under Section 31.30.020, the City will pay a reward of:

A.	$500 or three times the amount of actual damage caused by the violation, whichever is less, if the violation involved the use of any explosive or firebomb, or if the violation injured or killed a person;

B.	$100 or three times the amount of actual damage caused by the violation, whichever is less, if the violation damaged property only and did not involve use of any explosive or firebomb;

C.	The amount in Subsections A and B above may be increased to a maximum reward of $5,000 at the discretion of the Rewards Review Committee in the case of injuries or death from fire or in the event of a rash of incendiary fires in a given area; however, the amount of the reward offered by the Rewards Review Committee shall not, in any event, exceed the then current amount in the Reward Fund provided by the City Council and private and public donors.

D.	Any reward paid under this Title will be in lieu of any other reward that may be payable under Title 14 or any other title of Portland City Code.

E.	The provisions of Title 14, Chapter 14A.20, Rewards, shall apply to any and all awards paid under this Title.

31.30.020	Rewards Review Committee and Fund.

(Amended by Ordinance No. 175646, effective July 1, 2001.)

A.	A Rewards Review Committee comprised of five persons is created for the purpose of investigating and evaluating facts relating to fires to determine entitlement to rewards as are provided for in this Title or any other title of the Portland City Code.  The members of the Rewards Review Committee shall be chosen from the public at large of the City of Portland by the Commissioner In Charge of the Bureau of Fire and shall serve without compensation at the pleasure of the Commissioner.  The Committee shall utilize, but is not limited to, all fire investigative resources of the Bureau of Fire for its factual information and can gain information from other sources which shall remain confidential to the members of said Committee.  The Committee shall determine entitlement to rewards to anonymous persons from all information at its disposal and shall transmit over the signature of the chairman a notice of any such monetary entitlement to the Fire Chief.  The Fire Chief shall regard such written notice as a

cash requisition for the amount named therein and shall make such amount available from the fund established in paragraph B hereof to the Rewards Review Committee for payment to the person or persons determined to be entitled.

B.	The Fire Chief is hereby authorized to maintain a cash fund with or without a checking account for the payment of rewards in accordance with paragraph A above.  He or she is hereby authorized to receive and hold in this cash fund direct donations for this specific purpose and with the approval of the Commissioner In Charge of the Bureau of Fire to draw City funds chargeable to City appropriations specifically for this purpose in order to maintain sufficient confidential records of both receipts and payments to be able to provide a confidential accounting to the Commissioner In Charge of the Bureau of Fire.  No further accounting shall be required.

C.	The Rewards Review Committee may increase the amount of any reward provided for in Chapter 31.30 above the specified maximum, provided that any excess above the maximum specified shall be paid solely from donations provided for in Subsection B above.

31.30.030	Bureau of Fire, Rescue and Emergency Services Investigative Fund.

There is hereby established a Bureau of Fire, Rescue and Emergency Services Investigative Fund, to include all funds previously held by the Bureau of Fire, Rescue and Emergency Services for rewards and for similar disbursements, in the sum of $500.

31.30.040	Purpose of the Fund.

The Bureau of Fire, Rescue and Emergency Services shall maintain and disburse this fund for investigative, enforcement and reward purposes in connection with its duties and functions.

31.30.050	Disbursements from the Fund.

(Amended by Ordinance No. 175646, effective July 1, 2001.) Disbursements from the Fund shall be on the order of the Fire Chief or of the Fire Marshal and the funds shall be managed by the Bureau of Fire, Rescue and Emergency Services Management Officer.

31.30.060	Amount of Fund.

The Fund shall be maintained at a level of $500, to be replenished from time to time by disbursements chargeable to the Bureau of Fire, Rescue and Emergency Services' appropriation.

31.30.070	Accounting.

(Amended by Ordinance No. 175646, effective July 1, 2001.) The Fire Chief shall make a periodic confidential accounting of the disbursements of the Fund to the Commissioner In Charge of the Bureau of Fire, Rescue and Emergency Services.

Chapter 31.40

PERMITS AND FEES

Sections:

31.40.010	Permit.

31.40.020	Building Permits.

31.40.030	Permits and Fees Required.

31.40.035	Other Fees.

31.40.040	Permit Fees.

31.40.010	Permit.

"Permit" means a written permission of the Fire Marshal issued pursuant to the provisions of this Title.

31.40.020	Building Permits.

(Amended by Ordinance Nos. 175646, 176955 and 177816, effective August 27, 2003.)

A.	Plans for construction, alterations, repairs, or other work involving or affecting the fire and life safety features of any building regulated by the Fire Marshal shall be reviewed by representatives of the Fire Prevention Division prior to issuance of the building permit.

B.	For each application that requires payment of a Bureau of Development Services Fire and Life Safety fee, the applicant shall pay a Fire Code Enforcement Fee in an amount equal to 16% of the Bureau of Development Services, Building Permit Fee.  The Fire Code Enforcement Fee shall be paid when the plans and application for a Building Permit are accepted for examination and shall not be refundable.

C.	For each permit that is processed through the Bureau of Development Services Master Permit/Facilities Permit Program the applicant shall pay a Fire Facility Permit Fee listed in Table 40-F.

31.40.030	Permits and Fees Required.

(Amended by Ordinance Nos. 175646, 176955 and 177816, effective August 27, 2003.)

A.	It is unlawful for any person or entity to use a building or premises or to engage in any activities for which a permit is required in Portland City Code Section 31.40.030 J. without first obtaining such permit from the Fire Marshal.

B.	Applications for permits shall be made to the Fire Prevention Division in such form and detail as prescribed by the Bureau of Fire.

C.	The application for the permit shall state the name, address and telephone number of the owner or party legally occupying the building or premises on which the activity will be conducted.  If the applicant is the owner or occupant of the building or premises, the application shall state that fact.

D.	The application shall be accompanied by the written permission of the owner or legal occupant, signed by a person with authority to do so, authorizing the applicant to carry on the activity described in the application, in the building or on the premises described.

E.	Plans and Specifications.  When required by the Fire Marshal, sufficient plans, specifications, and engineering data must be submitted for the purpose of verifying that the proposed activity or design complies with applicable codes, standards and regulations.  When the applicant fails to provide adequate specifications and plan detail, the Fire Marshal may require all submittals to be prepared by an architect or engineer registered in the State of Oregon.  A Plan Review Fee as specified in Subsection 31.40.040 C. must be paid.

F.	A permit issued under this Title shall continue until revoked or for such a period of time as designated therein at the time of issuance.  It shall not be transferable and any change in use, occupancy, operation or ownership shall require a new permit.

G.	All permits issued under this Title shall be presumed to contain the provision that the applicant or the applicant’s agents shall carry out the proposed activity in compliance with all the requirements of this Title and any other federal and State laws and City regulations that apply, whether specified or not, and in complete accordance with the approved plans and specifications.  Any permit which purports to sanction a violation of this Title or any applicable law or regulations shall be void and any approval of plans and specifications in the issuance of such permit shall likewise be void.  In instances where laws or regulations are enforced by other agencies, joint approval shall be obtained.

H.	Revocation of permits.

1.	Any permit issued under this Title may be suspended or revoked under the following conditions, when it is determined after an administrative hearing by the Fire Marshal that:

a.	It is used by a person other than the person to whom the permit was issued;

b.	It is used for a location other than that for which it was issued;

c.	Approved plans or any of the conditions or limitations set forth in the permit have been violated;

d.	The permittee fails, refuses, or neglects to comply with any order or notice duly served under the provisions of this Title;

e.	The permitted work was initiated without the owner's or other governmental agency's consent.

f.	Work has not begun within 180 of permit issuance or work, once commenced, has not progressed for a period of 90 days.

2.	Any permit may be suspended for up to 3 working days without a hearing if the Fire Marshal finds that hazards other than those anticipated in the permit approval exists or there has been any false statement, misrepresentation or omission as to a material fact, or change in condition from those stipulated in the application or plans upon which the permit was based.  The permittee shall be given notice of the precise violations.

I.	Inspections.

1.	General.  All construction, work, or activity for which a permit is required shall be subject to inspection by the Fire Marshal.  It shall be the duty of the permit applicant to cause the work to be accessible and exposed for inspection purposes.  Neither the Fire Marshal nor the City shall be liable for expense entailed in the removal or replacement of any material required to allow inspection.

2.	Inspection Requests.  It shall be the duty of the person doing the work authorized by a permit to notify the Fire Marshal that such work is ready for inspection.  The Fire Marshal may require that every request for inspection be filed at least one working day before such inspection is desired.  Such request may be in writing or by telephone at the option of the Fire Marshal.  It shall be the duty of the permit applicant requesting any inspections required by this Title to promptly comply with the written notice of corrections required by the Fire Marshal as a condition of the permit.  A fee of $50 shall be charged for re-inspections when the work is not ready for the requested inspection.

3.	Inspection Record Card.  Work requiring a permit shall not be commenced until the permit holder or his or her agent shall have posted an inspection record card in a conspicuous place on the premises and in such position as to allow the Fire Marshal conveniently to make the required entries thereon regarding the inspection of the work.  This card shall be maintained in such position by the permit holder until final approval has been granted by the Fire Marshal.

4.	Special Inspections.  Except for inspections associated with the Master Permit/Facilities Permit Program, when inspections are requested or required outside of normal working hours to verify compliance with approved plans or permits, a fee shall be paid at the rate of $50 per hour, with a minimum charge of 4 hours.

J.	Permits are required for the following equipment and work:

1.	Automatic Sprinkler Systems and standpipes.  To install, alter, repair or remove any automatic sprinkler system or standpipe, or equipment pertaining thereto.

2.	Compressed Gases and Cryogens.  To install containers, piping and related equipment for the manufacture, storage, handling or use of compressed gases and cryogens.

3.	Dry Cleaning Plants.  To install dry cleaning equipment when the storage or use of flammable or combustible liquids exceeds the exempt amount, or to change to a more hazardous cleaning solvent.

4.	Fixed Extinguishing Systems.  To install, alter, repair or remove any fixed extinguishing system or related equipment.

5.	Fire Alarm System.  To install, alter, repair or remove any fire alarm system or equipment pertaining thereto.

6.	Fire Hydrant, Private.  To install, alter, repair or remove any private fire hydrant or related piping or devices.

7.	Tanks and Related Equipment.  Used for the Storage, Transport or Use of Flammable or Combustible Liquids as defined in Article 79, or Hazardous Materials as defined in Article 80 of the Fire Code.

a.	To install, alter or remove equipment or piping in connection with the manufacture, storage, handling, use or sale of flammable or combustible liquids or hazardous materials.

b.	To install, alter, remove, abandon, place temporarily out of service or otherwise dispose of any flammable or combustible liquids or hazardous materials.

c.	To change the type of contents stored in tank containing flammable or combustible liquids or hazardous materials to a material other that that for which the tank was designed and constructed.

8.	Liquefied Natural or Petroleum Gases and Compressed Natural Gas.  To install, alter or remove equipment in connection with the storage, handling and use of liquefied petroleum gases (“L.P.”), (“L.N.G.”) or compressed natural gases (“C.N.G.”).  Permit applications for all new liquefied petroleum gas tank installations made during the preceding month shall be submitted to the Fire Marshal by the last day of each month.

9.	Paint Spray Booths.  To install, alter or remove pre-manufactured paint spray booth or related equipment.

10.	Cutting and Welding.  Either a "General" or "Site Specific" permit is required when cutting or welding is performed outside of an occupancy classified as "H4" in the records of the Bureau of Development Services.

a.	A "General Permit" gives automatic Fire Marshal approval when the contractor or responsible party signs the permit and complies with the list of conditions.

b.	A "Site Specific Permit" must be obtained when required by the Fire Marshal or when the list of conditions contained in the "General Permit" cannot be complied with.

11.	Roofing Kettles.  To place and use roofing kettles on any surface above grade.

12.	When not otherwise required by this Title, permits may be issued for removal of underground tanks when appropriate procedures have been followed and fees paid, in accordance with Table 40-A, upon request of the property owner or agent.

13.	An annual permit is required for the following:

a.	Public Assembly.  When required by the Fire Marshal, the owner or operator of public assembly occupancies having and occupant load of 50 or more where fixed seats are not installed shall obtain a permit which specifies the maximum number of persons allowed in the building or portion of the building.  In addition to the valid permit an approved set of the assembly plans must be displayed on the premises.  Such plan shall indicate the seating arrangements, location and width of exitways and aisles serving assembly rooms or areas having an occupant load of 50 or more where fixed seats are not installed.  The plan shall be prepared by an architect registered in the State of Oregon when, as determined by the Fire Marshal, the applicant fails to provide the necessary specifications and plan detail.

b.	Vending carts with portable cooking equipment.

14.	A temporary permit is required for the following activities:

a.	Festivals, celebrations or special events of a temporary nature meeting one or more of the following criteria and held in a portion or portions of a building, structure or enclosed area not approved with the Certificate of Occupancy for the proposed use.

Criteria requiring a temporary permit:

(1)	Occupant load of 500 or more people as calculated by the Fire Marshal, or

(2)	Gatherings of 50 or more people for the purpose of entertainment in structures not approved for  assembly use, or

(3)	Use of outside tents or membrane structures with sides, where 50 or more people may attend.

Applications for the permit and sufficient plans shall be submitted for approval not less than two weeks prior to the event or the commencement of advance ticket sales, whichever occurs first.  The application shall include, when required by the Fire Marshal, submittal of plans as specified in Subsection 31.40.030 J.13.  An approved set of plans and the permit shall be kept at the event site.

b.	Public fireworks display as required in Section 31.40.040.

c.	L.P. Gas.  Storage or use of L.P. Gas within Fire Zone 1 in excess of 16 ounces when the Fire Marshal finds substantial protection and precautions have been provided.

d.	Temporary Use of L.P. Gas within buildings.  For the temporary use of L.P. Gas within buildings in excess of the amounts allowed by the 2000 Uniform Fire Code.

e.	Pyrotechnics other than fireworks as used for special effects in concerts, movie making, or other places where people are present.

f.	Display of four or more motorized vehicles in a public assembly.

g.	Explosives, Blasting Agents, Ammunition and Fireworks.  When required in Section 31.70 a permit shall be obtained for the possession, storage, transportation, sale or use including blasting using explosives, or transferring from one vehicle or boat to another, of explosives, blasting agents, ammunition or fireworks as required in Section 31.70.

h.	Use of lasers that require a Federal variance, in gatherings of 50 or more people.

15.	Medical Gases and Vacuum Systems.  To install tanks, containers, piping and related equipment for the storage and handling of medical air and medical vacuum systems.

16.	It is unlawful for any person, firm or corporation, including the owner of the building, structure, or arena to which the permit applies, to fail to comply with the terms of a temporary permit issued pursuant to Code Section 31.40.030 J 14 for a special event.

a.	In addition to any other liability or penalty provided by law, the Fire Marshal or his or her assistants may impose a civil penalty against any person, firm, or corporation who violates subsection 16 of this section, per day for each day the violation continues. The civil penalty shall be an amount equal to the Penalty as set out in the Public Assembly Penalty Schedule listed in Table 40-C.   The amount shall be increased for violations listed in Section B by multiplying the Penalty by the Occupant Factor.  The Occupant Factor is determined by the “Approved Occupant Load” and shall be as follows:

Occupant Factor	Approved Occupant Load

1	not exceeding 750

2	at least 751 but not exceeding 5,000

3	at least 5,001 but not exceeding 10,000

4	at least 10,001 but not exceeding 20,000

6	at least 20,001 but not exceeding 30,000

8	at least 30,001 but not exceeding 40,000

12	greater than 40,000

b.	Upon having probable cause to believe that a violation of subsection 16 has occurred, the Fire Marshal or his or her assistants may issue a citation delivered in person or by Registered or Certified mail, which shall include:

(1)	A reference to the particular Code Section involved,

(2)	A short and plain statement explaining how the Code section is violated,

(3)	A statement of the amount of the applicable penalty or penalties stated in the Code, and

(4)	A statement of the right of the person to request a hearing.

c.	The person, firm, or corporation cited as violating the permit requirements shall, within 15 calendar days of receiving written notice of Violations, pay to the City the penalty or request an appeal hearing by the Code Hearings Officer as set forth in Portland City Code Title 22.

(1)	If, pursuant to the appeal hearing, a penalty is ordered, payment of the penalty must be received by the City or postmarked within 15 days after the order becomes final.

(2)	The findings of the Code Hearings Office may be reviewed only as provided in Portland City Code Title 22.

d.	The City may bring an action to collect any penalty assessed by a bureau member in any court of the State of Oregon for the county in which the person from whom the penalty is being sought resides or in which such person’s principal place of business is located.

e.	If a violation of this chapter results in or contributes to any emergency, including a fire, the violator may be assessed the full cost of the emergency response as well as cleanup costs.

31.40.035	Other Fees.

(Amended by Ordinance Nos. 175646 and 177816, effective August 27, 2003.)

A.	Fees are required for the following conditions:

1.	Plan Review.  For the review of plans as may be required by the Fire Marshal or as may be required by other sections of this Title.

2.	Special Inspections.  For required or requested special inspections as described in Section 31.40.030 I.4. a fee shall be paid.

3.	Occupant Load Sign.  For providing at the request of a tenant or owner an occupant load sign required by codes adopted herein for the purpose of displaying the maximum occupant capacity, a fee of $25 shall be paid.

4.	Standby Charge.  When, in the opinion of the Fire Marshal, it is essential for public safety in a place of an assembly or any other place where people congregate, due to the number of persons, or the nature of the performance, exhibition, display, contest, or activity, at least one fire inspector shall be present at least ½ hour before the public is admitted until ½ hour after the performance ends.  The charge shall be as stated under 31.40.035, special inspections.

31.40.040	Permit Fees.

(Amended by Ordinance Nos. 175646 and 177816, effective August 27, 2003.)

A.	General.  Fees for permits required under Section 31.40.030 J. shall be assessed in accordance with the provisions of this section or shall be as set forth in the fee schedule.

B.	Permit Fees.  The fee for each permit required under Section 31.40.030 J. shall be as set forth in the appropriate table designated in the following subparagraphs B.1., B.2. and B.3., except for permits processed through the Master Permit/Facilities Permit Program.  The determination of the value or valuation under any of the provisions of this code shall be made by the Fire Marshal.

1.	The fee for each permit required under Section 31.40.030 J.2.-3., J.7.-8. and J.15. shall be as set forth in Table No. 40-A., except for permits processed through the Master Permit/Facilities Permit Program, which shall be as set forth in Table No. 40-F.  The value to be used in computing the permit and plan review fees shall be the total value of all construction work for which the permit is issued.

2.	Fees for automatic sprinkler systems, standpipes, fixed extinguishing systems and private fire hydrants:

a.	The fee for each permit required under Section 31.40.030 J.1, J.4. and J.6. shall be as set forth in Table 40-D., except for permits processed through the Master Permit/Facilities Permit Program, which shall be as set forth in Table 40-F.  For both new and altered systems the "Total Value of Work Performed" shall be equal to the actual contract price of the work, but not less than an amount determined as follows: Multiply the square footage protected by the automatic sprinkler system by $1.33 per square foot; add the actual contract price of the underground water system improvements needed.

b.	Voluntary Installations.  When the installation of a fire protection system is not required, and is not installed as an alternative to another requirement, the fees specified in Section 31.40.040 shall be reduced by 50%.

c.	When the work being performed does not involve the addition/alteration of sprinkler heads, the value shall be based on the actual contract price, except for permits processed through the Master Permit/Facilities Permit Program, which shall be as set forth in Table No. 40-F.

d.	The cost of permit fees associated with water main connections to the City water supply may be deducted from the contract price.

3.	The fee for each permit required under 31.40.030 J.12. shall be as set forth in Table No. 40-C, except for permits processed through the Master Permit/Facilities Permit Program, which shall be as set forth in Table No. 40-F.

4.	The fee for each fire alarm permit required under Section 31.40.030 J.5. shall be as set forth in Table No. 40-E., except for permits processed through the Master Permit/Facilities Permit Program, which shall be as set forth in Table No. 40-F.  The value to be used in computing the permit and plan review fees shall be the total of all construction work for which the permit is issued, as well as all permanent fire alarm material and equipment.

C.	Plan Review Fees.  When a plan or other data are required to be submitted by the Fire Marshal, a plan review fee shall be paid at the time of submitting plans and specifications for review.  Said plan review fee shall be 65 percent of the permit fee calculated in 31.40.040 B.1., 2. or 3., except for permits processed through the Master Permit/Facilities Permit Program, which shall be as set forth in Table No. 40-F.

Where plans are incomplete or changed so as to require additional plan review, an additional plan review fee shall be charged at the rate shown in Table No. 40-A., except for permits processed through the Master Permit/Facilities Permit Program, which shall be as set forth in Table No. 40-F.

D.	Expiration of Plan Review.  Applications for which no permit is issued within 180 days following the date of application shall expire by limitation, and plans and other data submitted for review may thereafter be returned to the applicant or destroyed by the Fire Marshal.  The Fire Marshal may extend the time for action by the applicant for a period not exceeding 180 days upon request by the applicant showing that circumstances beyond the control of the applicant have prevented action from being taken.  No application shall be extended more than once.  In order to renew action on an application after expiration, the applicant shall resubmit plans and pay a new plan review fee.

E.	Investigation Fees:  Work or activity without a Permit.

1.	Investigation.  Whenever any work for which a permit is required by this Title has commenced without first obtaining said permit, a special investigation shall be made before a permit may be issued for such work.

2.	Fee.  An investigation fee, in addition to the permit fee, shall be collected whether or not a permit is then or subsequently issued.  The investigation fee shall be equal to the amount of the permit fee required by this Title.  The minimum investigation fee shall be the same as the minimum fee set forth in the appropriate table.  The payment of such investigation fee shall not exempt any person from compliance with all other provisions of this Title nor from any penalty prescribed by law.

F.	Fees for temporary permits including public assembly permits required by Subsection 31.40.030 J.13.-14. and penalties in 31.40.030 J.16. shall be paid at the rate specified in Table 40-C of this Chapter.  Fees for review of plans required by Subsections 31.40.030 I. and J. shall be paid at the hourly rate specified in Table 40-A of this Chapter. Fees for each permit and inspection required under 31.40.030 J.14.a, J.14.e and J.14.f shall be calculated by multiplying the hourly rate specified in Table 40-C by the time to review and process the plan and permit and perform any required inspections.  When inspections are required after normal working hours, the fee shall be based on the hourly rate specified in Subsection 31.40.030 I.4.

Submittal or alteration of the Event Plan Questionnaire or plans which add booths or reduce exit within seven days of the event or failing to obtain a permit prior to an event will result in doubling the permit fee.

G.	When requested by an owner for the purposes of documenting the decommissioning of a one or two-family residential underground storage tank, a permit may be issued and an inspection made after payment of a fee in the amount specified by 31.40.040 B.1., Table 40-A.

- PERMIT FEES

- TABLE 40-A

- (Amended by Ordinance Nos. 175646,

- and 177816, effective August 27, 2003.)

| TOTAL VALUATION OF WORK TO BE PERFORMED | FEES |
| --- | --- |
| $1.00 to $500.00 | $30.80 minimum fee. |
| $501.00 to $2,000.00 | $30.80 for the first $500.00, plus $4.70 for each additional $100.000 or fraction thereof, to and including $2,000 |
| $2,001.00 to $25,000.00 | $101.30 for the first $2,000.00, plus $18.50 for each additional $1,000.00 or fraction thereof, to and including $25,000.00. |
| $25,001.00 to $50,000.00 | $526.80 for the first $25,000.00, plus $13.90 for each additional $1,000.00 or fraction thereof, to and including $50,000.00. |
| $50,001.00 to $100,000.00 | $874.30 for the first $50,000.00, plus $9.25 for each additional $1,000.00 or fraction thereof, to and including $100,000.00 |
| $100,000.00 and Up | $1,336.80 for the first $100,000.00, plus $7.70 for each additional $1,000.00 or faction thereof. |
| Additional plan review required by changes, additions or revisions to approved plans: $35.00 per hour (minimum charge - one half-hour). |  |  |
| Microfilm Service Charge: | For each address or application: |
|  | $5.00 flat fee, except $10.00 for oversize plans |

- TABLE OF HAZARDOUS SUBSTANCE POSSESSION FEES

- TABLE 40-B

- (Repealed by Ordinance No. 177816,

- effective August 27, 2003.)

- SPECIAL PERMITS and PENALTIES

- CHAPTER 31.40

- TABLE 40-C

- (Amended by Ordinance Nos. 175646,

- and 177816, effective August 27, 2003.)

| SPECIAL PERMITS 1. Fireworks not regulated by Chapter 31.80 (a) General Public Fireworks Display, ea. Land Based Displays Water Based Displays (b) Wholesale Fireworks Storage and distribution, annual (c) Retail Fireworks Storage or Sale, annual in structure Retail Fireworks Storage or Sale, annual in tent (d) Limited Public Fireworks Display, ea. (e) Pyrotechnics other than fireworks for concerts, movie making, etc. (f) Display of 4 or more automobiles in Public Assembly occupancies 2. Ammunition, small arms, over 10,000 rounds, not regulated by Chapter 31.80 explosives or blasting agents, annual 3. Roofing Kettles 4. Welding and Cutting 5. Vending Carts, annual 6. Providing an Occupant Load Sign 7 Assembly Occupancies, annual (a) Occupant load - 50-299 (b) Occupant load - 300-999 (c) Occupant load - 1,000+ - Festivals, celebrations or special events: The permit fee is determined by the assembly area as shown on the approved permit. If more than 1 assembly area is shown on the permit, the permit fee is determined by the total area. - Up to 25,000 square feet - 25,001 to 100,000 square feet - 100,001 to 250,000 square feet - 250,001 and above - Storage of L.P. gas in Fire Zone #1 (when allowed) - L.P. Gas, Temporary use - Blasting - Site Permit - Transportation and Storage Permit - Pre-manufactured Spray Booth - Lasers requiring permit - Outside temporary tents and events in non-assembly building - Table of Penalties - Public Assembly Violations |  | FEE $200 $600 $100 $100 $150 * $200 $50 $50 * $25 $25 $25 $30 $50 $150 $100 $150 $300 $500 * * $500 $60 $60 $100 $100 |
| --- | --- | --- |

- Note: Multiple Violation Penalties involving different requirements or exhibits may be accrued Per Day

Section A

| -Propane bottle not secured in upright position -Propane bottle less than 5 feet from ignition source -Propane regulator not on bottle -Propane bottle with no collar around valve -6 inch ground ventilation not provided for propane bottle(s) allowed in food booth -Food vendor with no fire extinguisher, improper type or discharged |  | $25 $25 $25 $25 $25 $25 |
| --- | --- | --- |

CHAPTER 31.40

TABLE 40-C Continued

Section B

| -Exits blocked, obstructed, or not in place -Fire fighting appliances or fire alarm devices blocked or obstructed -Exit corridors or aisles obstructed or not in place -Exit signs not working, obstructed or not in place -Tables not spaced as per approved floor plans -Loose chairs not bonded in groups of three when over 300 -Failure to comply with other permit conditions -Propane bottles stored/used in enclosed structure -Number of occupancies exceeds permitted occupant load -Failure to obtain permit |  | $250 $250 $250 $250 $250 $250 $250 $250 $250 $500 |
| --- | --- | --- |

* Fee = Total hours of review rounded to the nearest ½ hr. multiplied by $35.  Minimum Charge, $17.50.

** = When site visit required, permit fee shall be equal to total hours of review rounded to the nearest ½ hr. multiplied by $35 (minimum fee $25).

CHAPTER 31.40

TABLE 40-C Continued

- AUTOMATIC SPRINKLERS, STANDPIPES, FIXED EXTINGUISHING SYSTEMS AND PRIVATE FIRE HYDRANTS

- TABLE 40-D

(Amended by Ordinance Nos. 175646,

and 177816, effective August 27, 2003.)

| TOTAL VALUATION OF WORK TO BE PERFORMED | FEES |
| --- | --- |
| $1.00 to $500 | $27.30 minimum fee. |
| $501 to $2,000 | $27.30 for the first $500.00, plus $3.37 for each additional $100.00 or fraction thereof, including $2,000.00 |
| $2,001 to $25,000 | $77.81 for the first $2,000.00, plus $13.29 for each additional $1,000.00 or fraction thereof, to and including $25,000.00 |
| $25,001 to $50,000 | $383.38 for the first $25,000.00, plus $10.01 for each additional $1,000.00 or fraction thereof, to and including $50,000.00 |
| $50,001 to $100,000 | $633.63 for the first $50,000.00, plus $6.64 for each additional $1,000.00 or fraction thereof, to and including $100,000.00 |
| $100,000 and Up | $965.78 for the first $100,000, plus $5.55 for each additional $1,000.00 or fraction thereof. |
| Additional plan review required by changes, additions or revisions to approved plans: $35.00 per hour (minimum charge - one half hour) |  |  |
| Microfilm Service Charge: | For each address or application: |
|  | $5.00 flat fee except $10 for oversize plans |

- FIRE ALARMS

- TABLE 40-E

(Amended by Ordinance No. 175646,

effective July 1, 2001.)

| $1 to $500 | $47.50 minimum fee. |
| --- | --- |
| $501 to $2,000 | $47.50 for the first $500, plus $7.25 for each additional $100 or fraction thereof, to and including $2,000. |
| $2,001 to $25,000 | $156.25 for the first $2,000, plus $28.50 for each additional $1,000 or fraction thereof, to and including $25,000 |
| $25,001 to $50,000 | $811.75 for the first $25,000, plus $21.45 for each additional $1,000 or fraction thereof, to and including $50,000. |
| $50,001 to $100,000 | $1,348.00 for the first $50,000, plus $14.30 for each additional $1,000 or fraction thereof, to and including $100,000. |
| $100,001 and up | $2,063.00 for the first $100,000, plus $11.90 for each additional $1,000 or fraction thereof. |

- FIRE FACILITY PERMIT FEE

- MASTER PERMIT/FACILITIES PERMIT PROGRAM

- TABLE 40-F

(Added by Ordinance No. 177816,

effective August 27, 2003.)

| For projects valued at $600,000 or less; Building orientations, inspection, plan review, and administrative activities | $120 per hour or fraction of an hour Minimum 1 hour for each inspection |
| --- | --- |
| For projects exceeding $600,000 value; Inspection, plan review and administrative activities | Fee based on project valuation and building permit fee schedule |

Chapter 31.50

CERTIFICATES OF FITNESS

Sections:

31.50.010	Certificate of Fitness.

31.50.020	Certificate Required.

31.50.010	Certificate of Fitness.

(Amended by Ordinance No. 175646, effective July 1, 2001.)

A.	A "certificate of fitness" is a written statement issued by the Fire Marshal certifying that the person to whom the certificate is issued has passed an examination as to his or her qualifications to perform the specifically identified work and that he or she has authority to perform such work during the term specified.

B.	Each certificate issued shall remain valid and in effect for one year from the date of issue unless suspended or revoked for due cause by the Fire Marshal.  The certificate shall not be transferable.

C.	When an applicant has successfully passed the examination, and upon receipt of the first annual fee of $45 the Fire Marshal shall issue the Certificate of Fitness to the applicant.  The Fire Marshal shall issue subsequent annual certificates of fitness on payment of an annual fee of $30 unless reexamination is required.

D.	It is unlawful for any person, firm or corporation to install, alter, service, test or perform any other work on any equipment regulated by this Chapter without first obtaining a Certificate of Fitness for such work from the Fire Marshal.

E.	It is unlawful for any firm or corporation, to assign an employee or other person to perform any of the services regulated by this Chapter unless such employee or person is certified, or working under an on-site supervisor who is certified.

F.	Whenever the Fire Marshal determines after investigation that any person holding a Certificate of Fitness, as above provided, has performed work so as to create a hazard to life or property, he or she is authorized and empowered to suspend or revoke the Certificate of Fitness of such person.  Notice shall be given of the suspension or revocation and the reasons for the suspension or revocation shall be identified in the notice.

G.	Any person so affected may appeal such suspension or revocation as provided in Chapter 31.10.150.

31.50.020	Certificate Required.

(Amended by Ordinance No. 175646, effective July 1, 2001.)  A Certificate of Fitness shall first be obtained from the Fire Marshal before doing any of the following:

- Automatic sprinkler system installation, alteration, testing, service or repair;

- Fire extinguisher refilling, service or repair;

- Fixed fire extinguishing systems installation, alteration, testing, service or repair;

- Privately owned fire mains or hydrant systems installation, testing or repair;

- Cleaning of commercial cooking hood and duct systems.

Chapter 31.60

FIRE ZONES

Sections:

31.60.010	Fire Zones Defined.

31.60.020	Automatic Sprinklers in Basements.

31.60.030	Fire Zone No. 1.

31.60.040	Fire Zone No. 2, West Side.

31.60.050	Fire Zone No. 2, East Side.

31.60.060	Fire Zone No. 2, Bridges.

31.60.070	Fire Zone No. 3.

31.60.080	L.P. Gas and Above Ground Tanks - Fire Zones Restricted.

31.60.010	Fire Zones Defined.

For the purpose of this Title, the entire City of Portland is hereby declared to be, and is hereby established a district, and said district shall be known and designated as Fire Zones Number 1, 2 and 3.  Whenever in this Title reference is made to any fire zone, it shall be construed to mean one of the fire zones within the boundaries established in this Chapter.

31.60.020	Automatic Sprinklers in Basements.

(Amended by Ordinance Nos. 175646 and 176955, effective October 9, 2002.)

A.	In the first and second fire zones as defined in this Title, it is unlawful for any owner or agent of the owner of any building which now or in the future has a basement area, which is not exempt under this section, to continue the basement area, whether in use or not without complying with this Section.

1.	The term "basement area" as used in this Section, unless otherwise indicated, means a story, any portion of which is below the grade of the building, or a cellar or sub-cellar.

2.	The term "grade" of a building means the lowest point of elevation of the finished surface of the ground, paving or sidewalk within the area between the building and the property line or, when the property line is more than 5 feet from the building, between the building, and a line 5 feet from the building.

B.	The height of a basement shall be measured from the floor surface to the bottom of the floor joists above or the surface of the ceiling above.

C.	If the basement area of the building contains more than 10,000 sq. ft. within foundation lines, the basement area shall be equipped with an automatic sprinkler system conforming to applicable standards of NFPA No. 13 "sprinkler systems, installation of," NFPA National Fire Codes.

D.	If the basement area of the building contains less than 10,000 sq. ft. within foundation lines, the basement area shall be equipped with an automatic sprinkler system as specified in Subsection C., except that the water connection for the sprinkler system may be 2 inches in diameter IPS (iron pipe size).

E.	The basements exempt from the provisions of this Section are:

1.	A single family dwelling;

2.	A two-family dwelling;

3.	A three-family flat or apartment building;

4.	A four-family flat or apartment building;

5.	A building having a basement of less than 1,000 sq. ft. and containing no combustible material of any kind;

6.	That portion of any basement occupied for dwelling purposes and approved by the Bureau of Development Services;

7.	Any basement which meets all of the following requirements:

a.	At least one-third of its average height is above the grade of the building;

b.	At least 3 feet of its average height is above the grade of the building; and

c.	There are at least two means of access by exterior windows or doors, and each window counted provides an opening not less than 22 inches high and 30 inches wide, above the grade of the building and above the adjacent ground surface.

The exemptions shall not apply to basements of hospitals or places of refuge.

8.	That portion of any basement area of a building Type 1 or 2 construction which is not used for storage of combustible goods, to the extent that such area would not constitute a fire hazard, or not used for retail purposes, and which portion is divided from the remainder of the basement area by a noncombustible constructed wall.

9.	Also, that portion of a basement area where sprinklers are undesirable because of the nature of the contents.

31.60.030	Fire Zone No. 1.

Fire Zone No. 1 is bounded by a line beginning at the point of intersection of the harbor line with the north line of Foothills Freeway extended; thence westerly along the north line of the Foothills Freeway to the center line of SW 13th Avenue; thence northerly along the center line of SW 13th Avenue to the center line of SW Salmon Street; thence westerly along the center line of SW Salmon Street to the center line of SW 18th Avenue; thence northerly along the center line of SW 18th Avenue to the center line of SW 19th Avenue extended; thence northwesterly along the center line of SW 19th Avenue to the center line of West Burnside Street; thence northerly along the center line of NW 19th Avenue to the center line of NW Davis Street thence easterly to the center line of NW 4th Avenue; thence northerly along the center line of NW 4th Avenue to the center line of NW Everett Street; thence easterly along the center line of NW Everett Street extended to the harbor line; thence southerly along the harbor line to the place of beginning.  (See Appendix 1)

31.60.040	Fire Zone No. 2, West Side.

A.	Fire Zone No. 2, West Side, is bounded by a line beginning at the point of intersection of the center line of SW 13th Avenue and the north line of the Foothills Freeway; thence northwesterly along the south line of the Foothills Freeway to the center line of SW 18th Avenue; thence northerly along the center line of SW 18th Avenue to the center line of SW Jefferson Street; thence westerly along the center line of SW Jefferson Street to the center line of SW 18th Avenue to the center line of SW Salmon Street; thence westerly along the center line of SW Salmon Street to the center line of SW King Avenue; thence northerly along SW King Avenue to the center line of SW Yamhill Street; thence westerly along the center line of SW Yamhill Street to the center line of SW Vista Avenue; thence northerly along the center line of SW Vista Avenue to the center line of West Burnside Street; thence westerly along the center line of West Burnside Street to the center line of NW 23rd Avenue; thence northerly along the center line of NW 23rd Avenue to the center line of NW Glisan Street; thence easterly along the center line of NW Glisan Street to the center line of NW 19th Avenue; thence northerly along the center line of NW 19th Avenue to the center line of NW Thurman Street to the center line of NW 29th Avenue; thence northerly along the center line of NW 29th Avenue to the center line of NW Nicolai Street; thence easterly along the center line of NW Nicolai Street to the westerly line of the Northern Pacific Railroad right-of-way; thence southeasterly along the westerly line of the Northern Pacific Railroad right-of-way to the center line of NW 21st Avenue; thence northeasterly along the center line of NW 21st Avenue extended to the harbor line; thence southerly along the harbor line to the center line of NW Everett Street extended; thence westerly along the center line of NW Everett Street to the center line of NW 4th Avenue; thence southerly along the center line of NW 4th Avenue to the center line of NW Davis Street; thence westerly along the center line of NW Davis Street to the center line of NW 19th Avenue; thence southerly along the center line of NW 19th Avenue to the center line of West Burnside Street; thence southeasterly along the center line of SW 19th Avenue extended to the center line of SW 18th Avenue; thence southwesterly along the center line of SW 18th Avenue to the center line of SW Salmon Street; thence easterly along SW Salmon Street to the center line of SW 13th Avenue; thence southerly along the center line of SW 13th Avenue to the point of beginning.

B.	Fire Zone No. 2, West Side, shall include the area bounded at a line commencing at the intersection of the center line of NW 107th Avenue and the center line of the road known as NW 1st Street; thence northerly on the center line of NW 1st Street to the center line of NW St. Helens Road; thence northwesterly on the center line of NW St. Helens Road to a point on the southeasterly line of NW 112th Avenue; thence in a northeasterly direction along the south line of NW 112th Avenue to the west line of the Northern Pacific Railroad right-of-way to a point 300 feet southerly from the southeast corner of Block 65, Linnton Addition; thence at right angles southwesterly to the center line of NW St. Helens Road; thence northwesterly on the center line of NW St. Helens Road to the center line of the road known as NW 1st Street; thence northwesterly on the center line of NW 1st Street to the place of beginning.  (See Appendix 2)

31.60.050	Fire Zone No. 2, East Side.

A.	Fire Zone No. 2, East Side, shall be the area bounded by a line beginning at the point of intersection of the easterly harbor line of the Willamette River, and the center line of SE Market Street; thence easterly along the center line of SE Market Street to the center line of SE 12th Avenue; thence northerly along the center line of SE 12th Avenue to the center line of NE Davis Street; thence easterly along the

center line of NE Davis Street to the center line of NE 16th Avenue; thence northerly along the center line of NE 16th Avenue to the center line of NE Multnomah Street; thence easterly along the center line of NE Multnomah Street to the center line of NE 21st Avenue; thence northerly along the center line of NE 21st Avenue to a point 100 feet north of the north line of NE Broadway; thence westerly, parallel with the north line of NE Broadway and N. Broadway, and 100 feet north of the north line of said NE Broadway and N. Broadway, to the center line of N. Flint Avenue; thence along the center line of N. Flint Avenue to the center line of N. Russell Street produced westerly to the easterly harbor line of the Willamette River; thence southerly along the easterly harbor line of the Willamette River to the place of beginning.

B.	Fire Zone No. 2, East Side, shall include the area bounded by a line beginning at the northeast corner of Lot 10, Block 29, Rose City Park, an addition to the City of Portland; thence south on a line parallel with NE 45th Avenue along the north-south center line of the blocks, to the north line of NE Halsey Street; thence diagonally across NE Halsey Street to the northeast corner of Lot 3, Block 2, Belgrade Addition; thence west to the northeast corner of Lot 19, Block 2, Belgrade Addition; thence south along the north-south center line of the blocks parallel with the east line of NE 45th Avenue and NE 45th Avenue extended southerly to the southerly boundary of the Oregon-Washington Railway and Navigation Company right-of-way to the westerly side of NE Sandy Blvd.; thence northerly to the southwest corner of Block 9, Hancock Street Addition; thence north to the northwest corner of Lot 11, Block 8, Hancock Street Addition to the City of Portland; thence east along the north boundary of Lot 11, Block 8, Hancock Street Addition; Lot 8, Block 11, Hancock Street Addition, Lot 8, Block 41, Rossmere Addition and Lot 11, Block 40, Rossmere to the northeast corner of said Lot 11, Block 40, Rossmere Addition, parallel with the north line of NE Broadway; thence north along the north-south center line of the blocks, parallel

with the west line of NE 39th Avenue to the northwest corner of Lot 7, Block 25, Rossmere Addition; thence east along a line 100 feet north of and parallel with the north line of NE Tillamook Street, to the point of beginning.

C.	Fire Zone No. 2, East Side, shall also include the area bounded by a line beginning at a point on the center line of N. Richmond Avenue if extended 100 feet north of the north line of N. Lombard Street; thence in a westerly direction along a line parallel with the north line of N. Lombard Street to the center line of N. Leavitt Avenue; thence in a northerly direction along the center line of N. Leavitt Avenue to the center line of N. Kellogg Street; thence in a westerly direction along the center line of N. Kellogg Street to the center line of N. Burlington Avenue; thence in a northwesterly direction along a line 200 feet northeast of, and parallel with, the northeast line of N. Lombard Street to the center line of N. Chicago Avenue; provided, however, that should N. Kellogg Street be extended, then the fire district shall extend to and along the center line of N. Kellogg Street from N. Burlington Avenue to N. Chicago Avenue; thence southwesterly along the center line of N.

Chicago Avenue to a point 100 feet northeast of the northeast line of N. Lombard Street; thence in a northwesterly direction along a line 100 feet northeast of, and parallel to, the northeast line of N. Lombard Street to the center line of N. St. Louis Avenue; thence in a southwesterly direction along the center line of N. St. Louis Avenue to a point 100 feet southwesterly of the southwesterly line of N. Lombard Street; thence southwesterly along the center line of N. Alta Avenue to a point 100 feet southwesterly of the southwesterly line of N. Ivanhoe Street; thence in a southeasterly direction parallel with the southwest line of N. Ivanhoe Street to a point 100 feet southeasterly from the southeasterly line of N. Alta Avenue; thence in a southwesterly direction along a line 100 feet northwesterly from the northwesterly line of N. Philadelphia Avenue to the center line of N. Syracuse Street; thence in a southeasterly direction along the center line of N. Syracuse Street to a point 100 feet southeasterly from the easterly line of N. Burlington Avenue; thence in a northerly direction parallel with the easterly line of N. Burlington Avenue to a point 100 feet southwest of the southwest line of N. Ivanhoe Street; thence in a southeasterly direction parallel with the southwest line of N. Ivanhoe Street to the center line of N. Leavitt Avenue; thence in a northerly direction along the center line of N. Leavitt Avenue to the center line of N. Ivanhoe Street; thence in an easterly direction along the center line of N. Ivanhoe Street to the center line of N. Richmond Avenue; thence in a northerly direction along the center line of N. Richmond Avenue to the point of beginning. (See Appendix 3 & 4)

31.60.060	Fire Zone No. 2, Bridges.

Fire Zone No. 2, East and West Sides, shall also include all space under any steel or wood bridge and all land abutting upon any such bridge for a distance of 100 feet on each side of the bridge.  The approaches to any bridge, if constructed of either steel or wood, shall be included under the term "bridge."

31.60.070	Fire Zone No. 3.

Fire Zone No. 3 shall include all portions of the City not heretofore included in any of the Fire Zones Numbers 1 or 2.

31.60.080	L.P. Gas and Above Ground Tanks - Zones Restricted.

A.	Regardless of other provisions in this Title, L.P. gas containers over 16 ounce water capacity shall not be located within Fire Zone No. 1 as defined in this Title, except when a permit has been obtained from the Fire Marshal as required in 31.40.030.

B.	Above ground tanks for flammable liquids shall not be placed within lands zoned commercial or residential as defined in Title 33, Planning and Zoning Regulations.

Chapter 31.70

EXPLOSIVES, BLASTING AGENTS,

AMMUNITION AND FIREWORKS

Sections:

31.70.010	Scope.

31.70.020	Permits Required; Exemptions.

31.70.030	Shipments at Terminals.

31.70.040	Transportation by Water.

31.70.050	Where Storage of Ammunition Not Permitted.

31.70.060	Fireworks.

31.70.080	Investigation of Violations and Receiving, Storing or Destroying Explosives, Blasting Agents, Ammunition or Fireworks.

31.70.090	Blasting.

31.70.010	Scope.

(Amended by Ordinance No. 175646, effective July 1, 2001.)

A.	This Chapter shall apply to the manufacture, possession, storage, sale, transportation and use of explosives, blasting agents, ammunition and fireworks.

B.	All federal, state, county and city laws and regulations applicable to obtaining, owning, transporting, storing, handling and using explosive materials shall be followed and be in addition to all blasting permits required and issued by the City.

C.	The Fire Marshal may adopt policies and procedures consistent with these regulations for the purpose of protecting the public, providing safety to life and property and to assure consistent practices in enforcement and administration of these requirements.

31.70.020	Permits Required; Exemptions.

(Amended by Ordinance No. 175646, effective July 1, 2001.)

A.	The provisions of this Section shall be in addition to the permit requirements of Chapter 31.40.

B.	Permits are required for the following activities:

1.	Public fireworks display (see Portland City Code 31.70.060 D.)

2.	Retail Sales of fireworks (see Portland City Code 31.70.060 G.)

3.	Blasting (see Portland City Code 31.70.090 C.)

4.	Explosive Transportation and temporary storage (see Portland City Code 31.70.090 O.).

C.	Small arms ammunition in quantities of less than 10,000 rounds are exempt from permit requirements of Section 31.70.

31.70.030	Shipments at Terminals.

(Amended by Ordinance No. 175646, effective July 1, 2001.)

A.	Carriers shall immediately notify the Bureau of Fire when explosives, ammunition, blasting agents or fireworks are delivered within the City.  Carriers delivering such cargo at a waterfront terminal shall also notify the Harbor Master of such delivery.

B.	Carriers of explosives, ammunition, blasting agents or fireworks for delivery within the City shall immediately upon arrival at the destination notify the consignee or the consignee's agent of the arrival of the cargo.  The consignee or the consignee's agent shall, within six hours after the arrival of the cargo in the City, move the cargo outside the City or to a storage facility within the City approved by the Fire Marshal.  Upon a showing of extreme hardship and minimal risk of danger to life and property, the Fire Marshal may extend the 6 hour period.

C.	If, after notification, the consignee or the consignee's agent does not move the cargo as specified above and within the time specified above, the carrier shall so notify the Fire Marshal, who shall instruct the carrier as to the disposition of the cargo.

D.	No explosives, ammunition, blasting agents or fireworks awaiting further shipment to destinations outside the City shall be held at a terminal within the City for more than 96 hours.

31.70.040	Transportation by Water.

(Amended by Ordinance No. 175646, effective July 1, 2001.)

A.	All explosives, blasting agents, fireworks and ammunition transported from land to water or from water to land are subject to regulation under applicable provisions of this Chapter and Portland City Code Chapter 19.16 “Harbors” and shall be subject to supervision by the Harbor Master with regard to loading, unloading and handling on any waterfront facility in the City.

B.	The Harbor Master shall notify the Fire Marshal when any vessel having explosives, blasting agents, ammunition or fireworks on board enters the City limits.

C.	Explosives, blasting agents, ammunition and fireworks shall be guarded by a responsible person during the time that they are held at any waterfront facility.

31.70.050	Where Storage of Ammunition Not Permitted.

No permit for the storage and sale of ammunition in excess of 10,000 small arms cartridges shall be issued for any premises as follows:

A.	Buildings which are occupied in any part as hotels, apartments, dwellings, schools, places of public amusement or assembly, excepting armories of the State and United States militia;

B.	Buildings or places where the storage of ammunition together with materials being manufactured, stored or kept for sale would, in the opinion of the Fire Marshal, result in an unsafe condition.

31.70.060	Fireworks.

(Amended by Ordinance No. 175646, effective July 1, 2001.)

A.	It is unlawful to sell, keep or offer for sale, expose for sale, possess, use, explode or have exploded any fireworks within the City, except as specified by ORS 480.120.

B.	Subject to the provisions of the State law contained in ORS 480.110 to 480.170, inclusive, the Fire Marshal may approve the public display of fireworks by properly qualified individuals under supervision of experts in handling of fireworks; and provided that such display shall be of such character, and so located and conducted, that in the opinion of the Fire Marshal such display shall not be hazardous to the surrounding property or endanger any person.

C.	For the purpose of this Chapter, the Fire Marshal of the City is recognized as an ex-officio Deputy State Fire Marshal as provided by State statute.

D.	Any public fireworks display shall require a permit as specified in Portland City Code Chapter 31.40, and no such permit shall be issued unless the permittee shall first file with the Auditor of the City an insurance policy or certificate in such amount as may be required by the Fire Marshal of the City.

E.	All public fireworks displays shall be under the supervision and control of the Chief of the Bureau of Police and the Fire Chief, acting by and through the Fire Marshal of the City.

F.	The Fire Marshal shall confiscate, remove, or have removed at the owner's expense, all stocks of fireworks or other combustibles exposed for sale or held in stock in violation of this Title, and may destroy same, when he or she finds such measures necessary for the preservation of the public safety.

G.	A permit from the City is required for all retail sales of fireworks allowed under ORS 480.127.  The permit is valid for the location and with the limitations specified on the permit.

31.70.080	Investigation of Violations and Receiving, Storing or Destroying Explosives, Blasting Agents, Ammunition or Fireworks.

(Replaced by Ordinance No. 175646, effective July 1, 2001.)  The City Fire Marshal is authorized to investigate violations of any provision of any federal, State or City statute, regulation, Code or ordinance related to the unlawful possession or transportation of explosives, blasting agents, ammunition or fireworks.  The City Fire Marshal is authorized to receive explosives, blasting agents, ammunition or fireworks obtained by law enforcement officers or others.  After consulting with the District Attorney’s Office, these items may be stored or destroyed, as the Fire Marshal determines necessary to protect the public safety of the City, its employees, and its citizens.

31.70.090	Blasting.

(Added by Ordinance No. 175646, effective July 1, 2001.)

A.	It shall be a violation of this Code for any person to be in possession of high explosive materials, as defined by the adopted fire code, or conduct an operation or activity requiring the use of explosive materials, or perform, order or supervise the loading and firing of high explosive materials for the purpose of blasting, without first obtaining a permit from the Fire Marshal.

B.	High explosive materials shall not be transported, sold, given, delivered, or transferred to anyone in the City not in possession of a valid blasting permit.

C.	A blasting permit is required for every individual project requiring blasting.

D.	A permit issued under this Title is non-transferable to any other person or entity.

E.	To obtain a permit for blasting the person performing the blasting shall complete and file an application in the form prescribed by the Fire Marshal with a certificate of insurance and the required review fees.

F.	The application shall include the location where the blasting will take place; the type, condition and maximum amount of explosive materials to be used in any blasting charge; the numbers and location of the charges; the protective covering to be used; the type of detonating apparatus which will be used; measures that will be used to protect nearby property, building and structures; the dates and approximate time of explosions, damage monitoring plan, traffic control plan and other information necessary to make the use of explosives as safe as possible, such as public warning procedures, the recovery of a failed detonation, and the manner of transporting and storing explosives.

G.	The Fire Marshal, before issuing a permit for blasting, shall require the person or entity to whom the permit is issued to execute and deliver a certificate of liability insurance to include X,C, U coverage in a form to be approved by the City in an amount not less than five hundred thousand dollars ($500,000) (unless City design review approval is required, then coverage in the amount of not less than one million dollars ($1,000,000) will be required, or such additional amount as may be reasonable under all of the circumstances then existing as determined by the Fire Marshal).  The certificate of insurance shall state on its face that the underlying liability insurance policy includes coverage for indemnification of the City, its officers, agents, any blasting consultant in the employ of the City, and employees, against any claims brought by owners of any property for loss or damage that resulted from such blasting and coverage to indemnify, hold harmless and defend the City, its officers, agents, and employees in and from any cost, attorney’s fees or judgements incurred or rendered in any and all suits or actions brought against it as a result in whole or in part from the blasting.

H.	Permits for blasting projects in a public right-of-way or adjacent to a public right-of-way when the blast may affect operation of the right-of-way shall not be issued unless approved by the City Engineer and the Fire Marshal.

I.	The certificate shall also state that the insurance company must give the City a minimum of 10 days’ notice of cancellation of the required liability insurance coverage.  Notice shall include notice to the Fire Marshal.

J.	The Fire Marshal may approve, approve with conditions, or deny a blasting or transportation and storage permit application based on findings related to the on-site or off-site impacts of the application as the impacts relate to safety of life and property on the site or off the site.  The conditions of approval may relate to any aspect of the application in order to provide for as safe an operation as possible.

K.	In the interest of preserving public safety, the Fire Marshal may include in the permit, conditions on the proposed blasting.  It is unlawful for any person to engage, or attempt to engage, in a blasting operations in violation of any condition contained in the permit.  The conditions shall include, if applicable:

1.	The type, condition and maximum amount of the explosive to be used in any blasting charge;

2.	Protective covering to be placed on or around exposed sides of the object or material to be blasted;

3.	The detonating apparatus to be used and precautions to be taken in connecting the same;

4.	Protection of nearby buildings and structures;

5.	Warnings to be given and precautions to be taken before a charge is detonated;

6.	The recovery of unexploded blasting material and the disposition of charges that fail to detonate;

7.	Days and hours for conducting blasting operations;

8.	The manner of storing explosives and detonating apparatus not in immediate use; and

9.	The duration of the permit.

L.	The Fire Marshal shall render a decision on a permit application within 30 days of the date the complete application was filed. A complete application includes the application form, fee and certificate of insurance. An applicant may appeal a denial or conditions of approval to the Fire Code Board of Appeals as set forth in Portland City Code 31.10.150.

M.	The Fire Marshal shall have the power and authority to limit the level of blasting and if it is deemed to be in the public interest, after examining all of the pertinent circumstances surrounding the proposed blasting, may then refuse to issue such permit or in the case of a previously issued permit may suspend or revoke the permit.

N.	The Fire Marshal may suspend or revoke a permit under the conditions found in Portland City Code 31.40.030 H. Revocation of permits.

O.	City Not to Assume Liability. By the passage of the ordinance codified in this chapter or the issuance of any permit under this chapter, the City assumes no responsibility for any damage caused by the person or entity blasting within the City.

P.	Transportation of Explosives (Transportation Plan). A separate permit for transportation of explosives and blasting agents to the blast site and temporary storage at the site shall be obtained from the Fire Marshal.  The application must be filed in the form prescribed by the Fire Marshal.  A complete application includes the application form, transportation plan and permit fee.  The transportation plan shall include:

1.	Route used for deliveries and returns;

2.	Hours of transportation;

3.	Maximum quantities of explosives being transported;

4.	Types of vehicles being used.  Vehicles must be in compliance with federal and state transportation regulations for motor transport of explosive materials.

Q.	This section shall be enforced as provided in Portland City Code 31.20.030.

Chapter 31.80

HAZARDOUS SUBSTANCES AND

EMERGENCY PLANNING

(Repealed by Ordinance No. 177816,

effective August 27, 2003.)

Chapter 31.90

COMMERCIAL BUILDING

INSPECTION PROGRAM

Sections:

31.90.010	Purpose.

31.90.020	Definitions.

31.90.030	Inspection Program Established.

31.90.040	Inspections, Violations, and Certificate of Inspection.

31.90.050	Change of Use or Occupancy, and Revocation.

31.90.060	Fees.

31.90.070	Appeals.

31.90.080	Enforcement.

31.90.090	Fee Schedule.

31.90.092	Penalties.

31.90.094	Collection of Delinquent Accounts.

31.90.096	Waiver of Fees.

31.90.098	Adjustment of Accounts.

31.90.010	Purpose.

(Amended by Ordinance No. 175646, effective July 1, 2001.)  A major responsibility of the Bureau of Fire’s operations is fire prevention.  One method employed to reduce the number of fires is to enforce the fire regulations.  This can best be achieved through a building inspection program.  Therefore, the purpose of this chapter is to establish an enhanced fire prevention inspection program for all properties subject to fire regulations.  These do not include one and two family structures.  The goal of the program is to reduce the number of deaths, injuries and property loss from fire, and, hence, to enhance the public health, safety and welfare.

The Bureau of Fire has limited resources and staff.  Therefore, the purpose of this chapter is to establish fees for certain inspections which will be used to supplement General Fund resources to provide an enhanced level of inspection service and to authorize the Fire Marshal to implement a program of fire safety reviews in low risk uses, to be conducted by persons approved by the Bureau of Fire.  Under certain circumstances the fire safety reviews will be accepted in lieu of fire inspections.

31.90.020	Definitions.

(Amended by Ordinance Nos. 175646 and 176613, effective July 26, 2002.)

A.	“Business Owner” means the  person or entity legally responsible for the delivery of services or housing or the buying, selling,  handling, manufacture or storage of commodities.

B.	“Commercial Building” means any structure, tank or yard that is subject to regulation under applicable fire codes but does not include one and two-family residential structures.  It includes occupancies on public and private property as well as on all other types of ownership.

C.	“Occupancy” means the activity in a building or on property outside a building where services or housing are provided or commodities are bought, sold, handled, manufactured or stored. A single business entity with multiple uses or activities in a building as defined by the Uniform Building Code is considered one occupancy.  For activities outside a building such as tank farms, moorage and outside storage all outside activities or storage are considered one occupancy.  The definition includes individual businesses within a multiple occupancy commercial building but it does not include individual dwelling units within a multiple residential building.

D.	“Periodic Inspection” means an inspection performed on a periodic frequency by a member of the Fire Prevention Division, or others as referenced in Section 31.90.030 D.  Such inspection is for the purpose of determining that the entire occupancy is in compliance with the requirements of fire regulations.  A periodic inspection is also known as a regular inspection by the Bureau of Fire.  It does not include specific requests for inspection.

E.	“Certificate of Inspection” means a document issued by the Fire Marshal for the purpose of certifying that all violations of the fire regulations identified by the inspection have been corrected.

F.	"Fire Regulations" means the statutes and administrative rules adopted by the State of Oregon and the Portland City Code adopted by the Council and the policies adopted under the authority granted under this Chapter to the Fire Marshal which are for the purpose of safeguarding life and property from the hazards of fire and explosion arising from the storage, handling and use of hazardous substances, materials and devices, and from conditions hazardous to life or property in the use or occupancy of buildings or premises.

31.90.030	Inspection Program Established.

(Amended by Ordinance Nos. 175646, 176613 and 177816, effective August 27, 2003.)

A.	The Bureau of Fire shall establish a program for the inspection of all occupancies of commercial buildings for compliance with the fire regulations.

B.	The Fire Marshal shall adopt a policy regarding the frequency, priority, and type of inspection of occupancies in commercial buildings subject to the availability of budgeted funds and staff.

C.	The Fire Marshal shall establish procedures for periodic inspection.  Prior to a periodic inspection,  each occupancy shall be mailed a letter by first class mail, giving notice of the inspection and listing the most commonly found code violations.  The occupant will be asked to correct these violations if any are found by the occupant prior to the inspection.  Failure to correct these types of violations shall result in an additional fee for each class of violation, as set forth in Portland City Code 31.90.090 B.2.

D.	The Fire Marshal shall adopt a policy regarding minimum qualifications of individuals performing inspection.  Individuals may be members of the Fire Prevention Division, members of other Divisions within the Fire Bureau, members of other public agencies operating under an interagency agreement or employees or individuals working under contract with the Fire Bureau.

31.90.040	Inspections, Violations, and Certificate of Inspection.

(Amended by Ordinance No. 175646, effective July 1, 2001.)

A.	Each occupancy in a commercial building shall have a valid Certificate of Inspection in accordance with a schedule established by the Fire Marshal.  A separate Certificate of Inspection is required for spaces that are used in common by more than one occupant.

B.	The Fire Marshal shall issue a Certificate of Inspection upon a finding that the occupancy satisfies the fire regulations in the case of a periodic or requested inspection.

C.	In the event the inspection reveals a violation of the fire regulations or fire safety review criteria, the Fire Marshal shall prescribe the date by which all violations shall be abated.

D.	The Fire Marshal may order an inspection or reinspection at any time there is reason to believe there is a violation, and if a violation is found, the Certificate of Inspection may be revoked.

E.	The Certificate of Inspection shall be valid until a subsequent inspection or review or until it is revoked.

F.	The Certificate of Inspection shall be kept on the premises at all times and be available for review by Bureau of Fire personnel or other authorized City personnel.

G.	The Certificate of Inspection shall contain the following information:

1.	The address of the occupancy.

2.	The name and address of the business owner.

3.	A description of the existing use(s) by Uniform Building Code classification and a description of that portion of the building for which the certificate is issued.

4.	A statement that the described occupancy complies with the applicable regulations and policies.

H.	The issuance of a Certificate of Inspection does not suspend the applicability of any fire regulations.

I.	The Certificate of Inspection is issued to the business owner for the existing use at the location specified in the Certificate.  It is not transferable.

31.90.050	Change of Use or Occupancy, and Revocation

(Amended by Ordinance No. 175646, effective July 1, 2001.)

A.	Any change of use from the Building Code classification recorded on the Certificate of Inspection or addition of uses outside the approved Uniform Building Code classification in an existing occupancy shall invalidate the Certificate of Inspection.  A new inspection shall be required.

B.	The Fire Marshal shall be authorized to issue a notice of revocation of a Certificate of Inspection upon a finding that:

1.	The Certificate is being used at a location other than that for which it was issued;

2.	The Certificate is being used for uses which are new or in addition to the existing approved use and which are in a different Uniform Building Code classification than the uses approved under the current Certificate of Inspection;

3.	A subsequent inspection finds violations of the fire regulations; or

4.	There has been a false statement or misrepresentation of a material fact on which the certificate was issued.

C.	The Fire Marshal shall give notice to the business owner that the Certificate shall be revoked and the basis for the revocation and shall advise the business owner that the revocation shall be effective 30 days from the date of the mailing of the notice unless the business owner appeals the decision of the Fire Marshal to the Fire Code Appeals Board as provided by Portland City Code 31.90.070.  If an appeal is filed, the revocation shall be suspended until the decision of the Fire Code Board of Appeals.

31.90.060 	Fees

(Amended by Ordinance Nos. 175646 and 177816, effective August 27, 2003.)

A.	There shall be an inspection fee applicable to all periodic inspections and inspections requested by the owner.  Inspections of primary and secondary schools and nonprofit hospital buildings with a Uniform Building Code occupancy designation of I - 1.1, shall be exempt from all fees except illegal occupancy, violation and reinspection fees listed in Portland City Code 31.90.090 B.  The fees are set forth in Portland City Code 31.90.090.  The fees shall be paid to the City Treasurer within 28 days of the invoice date and shall be considered delinquent after that date.  The billing shall state where the fee is to be mailed.

B.	A fee may be paid in installments upon a showing that payment in a lump sum would cause an undue hardship.  An application to request installment payments shall be filed with the Fire Prevention Division on forms provided by the Division, upon request.  The application shall state the reasons for the undue hardship.  The application may be approved or denied based on the findings of the Fire Marshal.   Installment payments shall be paid within 28 days of the invoice date.

C.	The building owner will be billed in situations where the business owner shows the Fire Marshal a lease agreement or some other legal arrangement with the building owner which places the responsibility for fire inspection and the payment of fees on the building owner.

D.	Failure to pay the fee within 28 days of the invoice date as required by 31.90.060 A or failure to pay an installment payment within 28 days of the invoice date under 31.90.060 B shall subject the responsible person or business entity to an action by the City in a court having jurisdiction over the matter.  The unpaid balance shall be subject to a nine percent per year interest rate.

31.90.070	Appeals

(Amended by Ordinance No. 175646, effective July 1, 2001.)  An appeal may be filed with the Fire Code Board of Appeals as set forth in Portland City Code 31.10.150.  In addition to the bases for appeal set forth in Portland City Code 31.10.150 E., a business owner or building owner may appeal a decision by the Fire Marshal to revoke a Certificate of Inspection.

31.90.080  	Enforcement

Violations which are not remedied within the time provided by the Fire Marshal shall be treated in the manner provided by the City fire regulations for violations of the fire regulations.

31.90.090	Fee Schedule

(Amended by Ordinance Nos. 175646, 176613, 176955 and 177816, effective August 27, 2003.)

A.	The basic inspection fee for each occupancy shall be $45.  In addition, the following fees will be charged  for habitable structures except as provided in Portland City Code 31.90.090 A.4.a.  The fees are based on the NFPA 901 Code Classification System except where otherwise noted.  In no case will the total fee billed for an inspection be less than $35.

1.	Residential Area Inspection Fee.

a.	Apartments – (NFPA 901 Code 420-429; 430-439; 450-459)

3 - 5 units		$0

6 - 10 units		$10

11 - 15 units		$15

16 - 20 units		$20

21 - 25 units		$25

26 - 30 units		$30

31 - 35 units		$35

36 - 40 units		$40

41 - 45 units		$45

46 - 50 units		$50

51 or more units 	$1 per unit

b.	Motels and Dormitories

1 - 25 units		$25

26 - 50 units		$50

51 - 75 units		$75

76 - 100 units		$100

101 or more units	$1 per unit

2.	Non-Residential Area Inspection Fee.

a.	0 - 1000 sq. ft.		$0

1001 - 10,000 sq. ft.	$1 per 100 sq. ft. >1000

10,001 or more	$100 plus $.35 per 100 sq. ft.>10,000

3.	Special Situations.

a.	The special situation fees shall be in addition to the fees listed above.  The fees are based on the definitions in the State of Oregon Structural Specialty Code.

b.	Hazardous Occupancy Fee.  Occupancies in class H-4 will pay an additional $10.00 fee and in all other H classes there will be an additional fee of $100.00.

c.	Assembly Occupancy Fee.  An additional fee of $25.00 shall be charged where there is an assembly area in conjunction with the use.

d.	Inspection Time Overage Charge. Residential area inspections which require more than 2 hours per occupancy and non-residential area inspections which require more than 4 hours will pay an additional $40 per hour calculated and applied in quarter hour increments.

e.	Inspections of occupancies in which no hazards are found, requiring less than 10 minutes, shall pay $35, overriding any higher fee the occupancy would qualify for.

f.	Inspections of non-residential occupancies requiring less than 30 minutes shall pay no more than $250 per occupancy, excluding violation, reinspection, penalty and interest fees, overriding any higher fee the occupancy would qualify for.

g.	Inspections of non-residential occupancies requiring less than 60 minutes shall pay no more than $500 per occupancy, excluding violation, reinspection, penalty and interest fees, overriding any higher fee the occupancy would qualify for.

h.	The maximum fee for any non-residential occupancy, excluding violation, reinspection, penalty and interest fees, shall be $2000 per occupancy, overriding any fee the occupancy would qualify for.

i.	In situations where a given business occupies more than one building or area and each is located on the same site, the fee for the site shall be the largest fee for an individual occupancy plus:

Residential w/no internal common area (per building)	$5

Residential w/internal common area (per building)		$15

Non-residential < 10,001 sq. ft.		$1 per 100 sq. ft.

Non-residential > 10,000 sq. ft.		$100 plus $.35 per

100 sq. ft.

4.	Discounts.

a.	Inspection fees shall be discounted by 30% for Business, Factory, Mercantile, or multifamily Residential occupancies which are fully sprinklered OR have zero hazards.  Inspection fees shall be discounted 50% for Business, Factory, Mercantile or multifamily Residential occupancies which are fully sprinklered AND have zero hazards.

5.	Period Inspections Performed Through Interagency Agreement.

a.	A total fee of $25.00 will be charged for periodic inspections performed in accordance with an interagency agreement.

b.	Charges associated with unmitigated hazards will apply at all reinspections.

B.	Illegal Occupancy, Violation, and Reinspection Fees and Penalties.

1.	A fee of $250 will be charged for each illegal occupancy.  An illegal       occupancy is one that has not been approved by the Bureau of Development Services or identified on the Certificate of Inspection.

2.	Prior to a periodic inspection, the Bureau of Fire will mail a letter to the occupant which lists the most commonly found violations.  The occupant will be asked to  correct any of these commonly found violations before the inspection.  If during the periodic inspection, the fire inspector finds a violation on the list of commonly found violations, there will be a $10.00 charge for each class of violation.

3.	The following fees and penalties will be charged when violations are unmitigated at a reinspection.  The charge is for the purpose of determining whether the violations have been corrected.

a.	First reinspection visit is $25 per unmitigated violation class, a $100 penalty in addition to penalties assessed in 31.90.092.

b.	Second reinspection visit is $25 per unmitigated violation class, a $200 penalty in addition to penalties assessed in 31.90.092.

c.	The third and each subsequent reinspection visit is $25 per unmitigated violation class plus a $400 penalty in addition to penalties assessed in 31.90.092.

31.90.092	Penalties

(Amended by Ordinance No. 177816, effective August 27, 2003.)

A.	A penalty shall be assessed if a person fails to pay the fee when due.

B.	The penalty under subsection A shall be calculated as:

1.	Five percent (0.05) of the total fee liability of the account but not less than $5 if failure is for a period more than 84 days from the invoice date, except invoices initially created before June 1, 1999;

2.	An additional penalty of 20 percent (0.20) of the total fee liability but not less than $50 if the failure is for a period of 6 months from the invoice date, except invoices initially created before June 1, 1999.

31.90.094	Collection of Delinquent Accounts.

(Amended by Ordinance No. 177816, effective August 27, 2003.)

A.	Invoices returned by the U.S. Postal Service as “refused” may be turned over to a professional collection agency for collection.

B.	Accounts with amounts 84 days or more past due will be handled according to the collection policy established by Portland Fire and Rescue;  these may include use of a professional collection agency.

C.	Fees imposed by such agency shall be added onto the current fee liability of the account.

31.90.096	Waiver of Fees

(Amended by Ordinance No. 175646, effective July 1, 2001.)  Commissioner in Charge of the Bureau of Fire is authorized to waive any fees in this Title based on guidelines established by the Commissioner.  The authority to waive fees based on the established guidelines may be delegated to the Fire Marshal.

31.90.098	Adjustment of Accounts.

At the discretion of the supervisor in charge of billing accounts under this program, account balances may be zeroed out if that balance represents only residual unpaid interest and/or penalties.