Exhibit A

1.	Amend Portland City Code 24.10.040 D to read as follows:

24.10.040 D

D.	One- and two- family dwellingResidential code.  The provisions of the State of Oregon, One- and Two- Family Dwelling Residential Specialty Code, 2003 2005 Edition, as published by the International Code Council, and known as the International Residential Code, 2000 2003 Edition, and amended by the Building Codes Division of the Oregon Department of Consumer and Business Services, including the appendices and standards adopted by the State of Oregon, is hereby adopted by reference.  Furthermore, in that Appendix AN is adopted by the State of Oregon as a part of the 2005 Residential Specialty Code, Section AN109.4 is hereby specifically adopted and supercedes the provisions of Section AN103.2.3. The One- and Two-Family DwellingResidential Specialty Code is on file in the Development Services Center of the City of Portland.

2.	Amend Portland City Code 24.51.060 A to read as follows:

24.51.060 	General

A.	In addition to the other City codes, all structures located in wildfire hazard zones as identified in the Wildfire Hazard Zone map shall meet the applicable requirements in the State of Oregon Structural Specialty Code or the One and Two Family Dwelling Residential Specialty Code as applicable.

3.	Amend City Code 25.01.020 to read as follows:

25.01.020	Scope - Oregon Plumbing Specialty Code.

This Title shall apply to all plumbing done within the City, except sewer facilities installed by the City Engineer through contract or by City work force in any public place or right-of-way for the disposal of sanitary or storm drainage; and water supply facilities installed by the Water Engineer through contract or City work force in any public place or right-of-way for supplying the water service.

The provisions of the Uniform Plumbing Code, 19972003 edition, including the appendix and installation standards, published by the International Association of Plumbing and Mechanical Officials, as amended by the Building Codes Division of the Oregon Department of Consumer and Business Services, and known as the 20002005 Edition of the Oregon Plumbing Specialty Code, are hereby adopted by reference.  The Plumbing Specialty Code is on file in the Development Services Center of the City of Portland.

4.	Amend Portland City Code 25.01.030 to read as follows:

25.01.030	One- and Two- Family DwellingResidential Code.

The provisions of the State of Oregon, One- and Two- Family DwellingResidential Specialty Code, 20032005 Edition, as published by International Code Council and known as the International Residential Code, 20002003 Edition, and amended by the Building Codes Division of the Oregon Department of Consumer and Business Services, including the appendices and standards adopted by the State of Oregon, is hereby adopted by reference.  Furthermore, in that Appendix AN is adopted by the State of Oregon as a part of the 2005 Residential Specialty Code, Section AN109.4 is hereby specifically adopted and supercedes the provisions of Section AN103.2.3. The One- and Two-Family DwellingResidential Specialty Code is on file in the Development Services Center of the City of Portland.

5.	Amend Portland City Code 25.04.040, to read as follows:

25.04.040	Minor Plumbing Labels.

A.	General.  ORS 455.190 establishes special alternative inspections programs for commercial and industrial installations for other than new construction. ORS 455.155 gives the Department of Consumer and Business Services the authority to create a statewide permit and inspection system for minor construction work.  The Oregon Building Codes Division under the Department of Consumer and Business Services has created a mandatory statewide minor labels program.  One of these programs is the Minor Label Program.  Further, ORS 447.076 requires a program of minor labels for one and two family dwelling installations.  Implementation rules are found in Oregon Administrative Rules 918-100-000 through 918-100-060and 918-780-100 through 918-780-190.  The Bureau will operate the Minor Plumbing Label program in accordance with the Oregon Administrative Rules.  The Minor Plumbing Label Program utilizes minor labels in lieu of regular plumbing permits and random inspections to ensure compliance of minor work.

B.	Requirements for CommercialMinor Labels.  Commercial and Industrial Minor Plumbing Labels may be used in all occupancies (including commercial, industrial, apartment, and multi-family installations and one and two family residential dwellings) except one and two family residential dwellings.  As provided by Oregon law, the Tri-County Service Center sells minor plumbing labels.  The Bureau will refer all requests for minor plumbing labels to the Tri-County Service Center.

C.	Requirements for Residential Labels.  Residential Minor Labels may be used in only one and two family residential dwellings.  As provided by Oregon law, the Tri-County Service Center sells minor plumbing labels.  The Bureau will refer all requests for minor plumbing labels to the Tri-County Service Center.

C.D.	Inspection and Enforcement Authority.  The Bureau, in accordance with Oregon Administrative Rule 918-100-0060, shall conduct inspections and issue necessary correction notices for labels issued by the Tri-County Service Center.

D. E.	Violations.  It is unlawful to violate the requirements of this section.  Any violation of this section may be sanctioned by application of the remedies provided in Portland City Code 3.30.040.

6.	Amend Portland City Code 26.01.030 to read as follows:

26.01.030	Code Adoption.

The provisions of the State of Oregon Electrical Specialty Code, 20022005 Edition, as published by the National Fire Protection Association and known as the National Electrical Code (NEC) 20022005 Edition and amended by the Building Codes Division of the Oregon Department of Consumer and Business Services, including the appendices and Electrical Standards adopted by the State of Oregon, are hereby adopted by reference.

The provisions of the State of Oregon One- and Two-Family DwellingResidential Specialty Code, 20032005 Edition, as published by the International Code Council as the International Residential Code, 20002003 Edition and amended by the Building Codes Division of the Oregon Department of Consumer and Business Services including the appendices and standards adopted by the State of Oregon, is hereby adopted by reference.  Furthermore, in that Appendix AN is adopted by the State of Oregon as a part of the 2005 Residential Specialty Code, Section AN109.4 is hereby specifically adopted and supercedes the provisions of Section AN103.2.3.

These codes and standards are on file in the Development Services Center of the City of Portland.  This Title shall prevail except where specifically prohibited by the Oregon Revised Statutes and the Oregon Administrative Rules.

7.	Amend Portland City Code 26.02.050 to read as follows:

26.02.050	Electrical Code.

The Electrical Code shall mean the current State of Oregon Electrical Specialty Code, (including appendices and Electrical Standards) and the electrical provisions of the One and Two Family DwellingState of Oregon, Residential Specialty Code, 2005 Edition (including appendices and standards), as adopted by the State of Oregon.

8.	Amend Portland City Code 26.04.30 to read as follows:

26.04.030	Permit to Owner.

A permit to perform electrical work in or about a residential or farm building may be issued to the owner of that building, subject to the following conditions:

A.	All wiring shall be installed in accordance with the Electrical Code and this Title.

B.	All work done under such permit shall be performed by the owner or by a member of the immediate family of the owner as defined in the OAR.

C.	The owner does not intend to sell, exchange, lease or rent the property.  If the Director determines that the property is offered for sale, exchange, lease or rent within 6 months of final approval of permitted work, this shall create a rebuttable presumption that the owner intended to offer the property for sale, exchange, lease or rent at the time the permit was issued.  In such case the Director may assess a penalty of up to $500.

D.	If any of the above conditions are not met, the permit may be revoked in accordance with Section 26.04.090.

9.	Amend Portland City Code 26.04.040 A to read as follows:

26.04.040	Plans and Specifications.

A.	Installations Requiring Plan Review.  Plans and specifications shall be submitted to the Bureau for any complex structure.  For the purpose of this section, a complex structure means an electrical installation involving if any of the following apply:

1.  	AmpicityWhen the electrical installation involves one or more of the following:

a.  	A service or feeder beginning at 400 Amps where the available fault current exceeds 10,000 Amps at 150 Volts or less to ground or exceeds 14,000 Amps for all other installations A building or structure over 10,000 square feet;

b.	Installation of a 75 KVA or larger separately derived system as defined in Article 100 of the National Electrical Code (NEC) Service more than 320 amperes continuous rating metered through a self contained metering device in one and two family dwellings;

c.  	Addition of a new motor load of 100 HP or moreMore than 225 amperes for service in other than one and two family dwellings;

d.	Fire pump installations as defined in Article 695 of the NEC 400 amperes or more for feeders in other than one and two family dwellings;

e.  	Emergency systems installations as defined in Article 700 of the NEC A system over 600 volts nominal;

f.  	A service or feeder rated at 600 Amps or overA building or structure over three stories in height;

g.  	Four or more residential units in one structure;

h.  	Any structure or area with an occupant load of more than 99 persons;

i.  	A manufactured structures or recreational vehicle park, or alteration thereto, or;

j.  	Hazardous (classified) locations: Any structure or area containing a special occupancy as described in the Chapter 5 of the National Electrical Code as adopted by the State of Oregon;

2.  	Voltage. More than 600 supply volts nominal; When the Director determines either before or after permit issuance that the complexity of the installation necessitates submission of additional details, specifications or both to determine compliance with this Title.

3.  	Height. More than three stories; When changes from original approved plans or specifications are made.

4.  	Occupancy.

a.	Six or more residential units in one structure; or

b.	An “A” (Assembly) occupancy, “E” (Educational) occupancy, or “I-2” or “I-3” (Institutional) occupancy as defined in the adopted Oregon Structural Specialty Code; or

c.	Any of these special occupancies as described in Chapter 5 of the NEC adopted by the board in OAR 918-305-0100:

(1)	Hazardous (Classified) locations as defined in Articles 500 to 516; or

(2)	Installations in patient care areas of health care facilities as defined in Article 517; or

(3)	Agricultural buildings used for commercial purposes; or

(4)	Floating buildings as defined in Article 553; or

(5)	Marinas and boat yards as defined in Article 555.

5.  	Recreational Vehicle Park. A new recreational vehicle park, or any addition or alteration to an existing park.

10.	Amend Portland City Code Chapter 26.09 to read as follows:

Chapter 26.09

MINOR INSTALLATION LABEL PROGRAM

26.09.010	General.

ORS 455.155 gives the Department of Consumer and Business Services the authority to create a statewide permit and inspection system for minor construction work.  The Oregon Building Codes Division under the Department of Consumer and Business Services has created a statewide minor labels program.  The Bureau shall operate a Minor Installation Label Program in accordance with OAR Chapter 918, Division 309Implementation rules are found in Oregon Administrative Rules 918-100-000 through 918-100-060.  The Bureau will operate the Minor Electrical Label program in accordance with the Oregon Administrative Rules.  The Minor Installation Label Program utilizes minor labels in lieu of regular electrical permits.  Random inspections are made to ensure compliance of minor work.  The Bureau shall sell minor labels in sets of 10 labels.  Minor labels shall be used in compliance with the OAR and this Title.

26.09.020	Requirements for Minor Labels.

Minor Electrical Labels may be used in all occupancies (including commercial, industrial, apartment, multi-family  and one and two family residence installations).  As provided by Oregon law, the Tri-County Service Center sells minor electrical labels.  The Bureau will refer all requests for minor electrical labels to the Tri-County Service Center.

26.09.030	Inspection and Enforcement Authority.

The Bureau, in accordance with Oregon Administrative Rule 918-100-0060, shall conduct inspections and issue necessary correction notices for labels issued by the Tri-County Service Center.

26.09.040	Violations.

It is unlawful to violate the requirements of this section.  Any violation of this section may be sanctioned by application of the remedies provided in Portland City Code 3.30.040.